## Charge Code
Nominal Watts | Unit Description 1 | Unit Description 2 | Company | Manufacturer's Designation | New Charge Code | Circuit Watts | Circuit VA | Circuit VAR | Circuit Power Factor | Dimmed Circuit Watts | Dimmed Circuit VA | Dimmed Circuit VAR | Dimmed Power Factor | Status | Date Issued | End Date | Standard/Non Standard Conversion | Lamps / Signals / Miscellaneous | Date Amended (This column is used when a change to the equipment description, circuit watts, or anything other than the Charge Code itself is made. | Amendment Notes

## Test Data
Charge Code Calculation
|  |  | Overall var below (Watts) | % var below | Overall var above (Watts) | % var above
Circuit Watts at 240V |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
VA at 240V |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Calculated Value | Rounded to whole number (except p.f. which is to 2 d.p.)
Average Watts | #DIV/0! | #DIV/0!
Average VA | #DIV/0! | #DIV/0!
VAr | #DIV/0! | #DIV/0!
pf | #DIV/0! | #DIV/0!
Remember to check that the figures quoted are Watts and VA, not Watts and VAr!

## Drop downs (hidden)
Description | Code | Status | MDD release dates | Equipment Type
General lighting service filament | 01 | P | 2012-09-19 | Lamps
Tungsten Halogen | 03 |  | 2012-10-17 | Signals
Low Pressure Sodium | 11 |  | 2012-11-14 | Miscellaneous
Low Pressure Sodium (Economy) | 12 |  | 2012-12-19
High Pressure Sodium | 14 |  | 2013-01-16
High Pressure Mercury | 21 |  | 2013-02-20
High Pressure Mercury (Blended) | 23 |  | 2013-03-20
High Pressure Mercury (Halide) | 24 |  | 2013-04-17
High Pressure Mercury (Induction) | 25 |  | 2013-05-15
High Pressure Mercury (Ceramic Discharge Metal Halide) | 26 |  | 2013-06-19
High Pressure Mercury (Metal Arc) | 27 |  | 2013-07-17
Cosmopolis | 28 |  | 2013-08-14
Cold Cathode | 29 |  | 2013-09-18
Low Pressure Mercury (Fluorescent Tube) - Single Lamp | 31 |  | 2013-10-16
Low Pressure Mercury (Fluorescent Tube) - Twin Lamp (two lamps operated in series on a single ballast) | 32 |  | 2013-11-20
Low Pressure Mercury (Compact) - Single Lamp | 33 |  | 2013-12-18
Low Pressure Mercury (Compact) - Single Lamp - Twin Lamp (two lamps operated in series on a single ballast) | 34
Low Pressure Mercury (Compact) - Single Lamp | 35
Low Pressure Mercury (Compact) - Single Lamp | 36
Low Pressure Mercury (2D) - Single Lamp | 37
Low Pressure Mercury - Compact Integral Standard | 39
Light Emitting Diodes (LEDs) | 40
LED Street Lights | 41
Luminescent | 45
Electronic Ballasts | 50
3 lamp vehicle aspect (undimmed)
3 lamp vehicle aspect (dimmed)
2 lamp pedestrian aspect (undimmed)
2 lamp pedestrian aspect ( dimmed)
Wait Signal/Push Button (undimmed)
Controller
Vehicle Detector
Cable less Link Unit (CLU)
Lamp Monitoring Unit (LMU)
Outsation Monitoring Unit (OMU)
Outstation Transmission Unit (OUT)
Detector Power Pack Unit (DPU)
Speed Discrimination Unit (SDU)
Variable Maximum Unit (VMU)
Microprocessor Optimised Vehicle Actuation ( MOVA)
Belisha Beacons
Regulatory or Box Sign
School Crossing
Pole Mounted Responder
Traffic Counter
Speeding / Red Light Camera
Motorway Overhead Gantry
Ticket Machine
Wait Signal/Push Button (dimmed)
Speed Warning Signs
Variable Message Signs
Vehicle Aspect - Filter lamp (umdimmed)
Vehicle Aspect - Filter lamp (dimmed)
Vehicle Aactivated Sign (Dimmed Activated)
Weather detection/measurement equipment
Supply Cabinet
Audio Equipment
Radio Equipment
Telephone Equipment
Communications equipment
LED Wait signal/Push button (undimmed)
LED 3 lamp vehicle aspect (undimmed)
LED 3 lamp vehicle aspect (dimmed)
LED 2 lamps far side pedestrian aspect (undimmed)
LED 2 Lamps far side pedestrian aspect (dimmed)
LED filter ( undimmed)
LED filter ( dimmed)
LED Belisha Beacons (undimmed)
LED School Crossings
LED Regulatory Sign Light
LED Belisha Beacons (dimmed)
Pedestrian Detector
Pedestrian Detector with night life
LED pedestrain nearside aspect wait signal/Push Button (undimmed)
LED pedestrain nearside aspect wait signal/Push Button (dimmed)
Continuous Green Aspect (undimmed)
Continuous Green Aspect (LED) (undimmed)
Continuous Green Aspect (dimmed)
Continuous Green Aspect (LED) (dimmed)