Settlement Administration Agent User Requirements Specification

| Synopsis | The Settlement Administration Agent is responsible for calculating payments resulting from trades in both the Balancing Mechanism and Imbalance Settlement processes. This document describes the detailed requirements of this service. |
| --- | --- |
| Version | Version 24.1 |
| Effective date | 1 April 2020 |

Intellectual Property Rights, Copyright and Disclaimer The copyright and other intellectual property rights in this document are vested in ELEXON or appear with the consent of the copyright owner. These materials are made available for you for the purposes of your participation in the electricity industry. If you have an interest in the electricity industry, you may view, download, copy, distribute, modify, transmit, publish, sell or create derivative works (in whatever format) from this document or in other cases use for personal academic or other non-commercial purposes. All copyright and other proprietary notices contained in the document must be retained on any copy you make. All other rights of the copyright owner not expressly dealt with above are reserved. No representation, warranty or guarantee is made that the information in this document is accurate or complete. While care is taken in the collection and provision of this information, ELEXON Limited shall not be liable for any errors, omissions, misstatements or mistakes in any information or damages resulting from the use of this information or action taken in reliance on it.

Table of Contents

1	Management Summary	5

2	Introduction	6

3	Scope of Specification	7

4	Business and System Overview	8

4.1	Summary of Business Requirements	8

4.2	The Settlement Calendar	8

4.3	Service Context	9

4.4	Requirements Summary	10

4.5	Numbering Scheme for Requirement Definitions	13

4.6	Attributes of Individual Requirements	14

5	Functional Requirements	15

5.1	SAA-F001: Produce Settlement Calendar	15

5.2	SAA-F002: Validate settlement data	16

5.3	SAA-F003: Validate SVAA meter data	18

5.4	SAA-F004: Calculate Supplier BM Unit Metered Volumes	20

5.5	SAA-F005: Calculate balancing mechanism and Replacement Reserve volumes	22

5.6	SAA-F006: Calculate BM unit transmission loss multipliers	31

5.7	SAA-F007: Calculate balancing mechanism Replacement Reserve cashflows	33

5.8	SAA-F008: Calculate Credited Energy Volumes	36

5.9	SAA-F009: Calculate energy imbalance prices	38

5.10	SAA-F010: Calculate interconnector error	51

5.11	SAA-F011: Calculate energy imbalance cashflows	53

5.12	SAA-F012: Validate Adjustment Data	55

5.13	SAA-F013: Calculate information imbalance charges	56

5.14	SAA-F014: Calculate non-delivery volumes	58

5.15	SAA-F015: Calculate non-delivery charges	61

5.16	SAA-F016: Calculate system operator BM cashflow	63

5.17	SAA-F017: Calculate residual cashflows	64

5.18	SAA-F018: Allocate BSCCo Ltd Costs (Redundant)	66

5.19	SAA-F019: Aggregate charges and payments	67

5.20	SAA-F020: Validate Market Index Data	68

5.21	SAA-F021: Manage settlement disputes	70

5.22	SAA-F022: Provide settlement reports	71

5.23	SAA-F023: Process Market Index Data Provider Liquidity Thresholds	72

5.24	SAA-F024: Daily Check for Missing Settlement Calculation Data Flows	73

5.25	SAA-F025: Process Withdrawing Party Settlement Details	74

5.26	SAA-F026: Process Emergency Acceptance Data	75

5.27	SAA-F027: Calculate BM Unit Gross Demand for EMR	77

5.28	SAA-F029: Calculate Trading Unit Data	78

5.29	SAA-F030: Build RR Schedule	79

5.30	SAA-F031: Deemed Standard Product Variables	84

5.31	SAA-F032: Period Supplier BM Unit Delivered Volume for Secondary BM Units	86

5.32	SAA-F033: Deemed Standard Product Volumes and RR Instructed Deviation Volumes	88

6	Interface Requirements	90

7	Non-functional Requirements	96

7.1	SAA-N001: Audit Requirements	96

7.2	SAA-N002: Requirement not currently used	96

7.3	SAA-N003: Operational Control	97

7.4	SAA-N004: Requirement not currently used	97

8	Service Requirements	98

9	User Roles and Activities	98

Appendix A	Glossary	100

Appendix B 	Requirements Compliance Matrix	100

Appendix C	Logical Data Model	106

Appendix D	Business Process Model	107

Appendix E	Price Derivation Code Definitions	108

Amendment History

| Date | Version | Description of Change | Mods /Panel/ Committee Refs |
| --- | --- | --- | --- |
| 05/11/2009 | 13.0 | P217, CP1283, CP1286 | Change Implementation |
| 03/11/2011 | 14.0 | Document amended to remove details of interfaces included in the IDD Part 1 or Part 2, and to include changes for P253, as part of the November 2011 Release. | Change Implementation |
| 29/11/2012 | 15.0 | P278 for the November 2012 Release | ISG138/10 |
| 27/06/2013 | 16.0 | P285 for the June 2013 Release | P206/07 |
| 01/08/14 | 17.0 | ORD005 | Directed by the Secretary of State |
| 25/06/15 | 18.0 | CP1435 | ISG168/02 |
| 05/11/15 | 19/0 | P305 for the November 2015 Release | ISG172/04 |
|  |  | P323 for the November 2015 Release | P245/06 |
| 12/04/16 | 20.0 | CP1453 – Standalone Change | ISG178/04 |
| 29/06/17 | 21.0 | P321 Self-Governance – 29 Jun 2017 Release | Panel 245/05 |
|  |  | P350 for the June 2017 Release | ISG194/02 |
| 29/03/19 | 22.0 | P369: 29 March 2019 Standalone Release | P285/12 |
| 27/06/19 | 23.0 | P367 Self-Governance – 27 June 2019 Release | SVG219/02 ISG216/01 |
| 11/12/19 | 24.0 | 11 December 2019 Standalone Release – CP1517 | ISG220/01 ISG222/03 |
| 27/02/20 | 25.0 | 27 February 2020 Release | P295/17 |
| 01/04/20 | 24.1 | 1 April 2020 Standalone Release |  |

# 1	Management Summary

The Settlement Administration Agent (SAA) is one of the suite of seven services that support the operation of the Balancing and Settlement Code (BSC). The SAA role is critical to the successful operation of the BSC, as it calculates the credit and debit payments resulting from trades made in the Balancing Mechanism (BM) and the Replacement Reserve (RR) EU market and from imbalances between contracted and actual generation or consumption. The principal business processes involved may be summarised as:

- The capture of data relating to the operation of the BM and RR and the settlement of imbalances in each half hour, from a range of sources;

- For each Settlement Day, execution of the BM and RR and imbalance calculations as dictated by the Settlement Calendar, so that a minimum of six Settlement and Reconciliation runs are carried out for each day over a period of 14 months following the Settlement Date;

- Preparation and distribution of a series of Settlement reports to BSC Parties, the FAA and other parties, detailing the results of each day’s Settlement calculations; and

- Support of the Disputes management process which enables BSC Parties to query the reported outcome of the Settlement and Reconciliation runs.

The purpose of this document is to provide a complete specification of the set of business requirements which the SAA service must satisfy for all of its various user types. These range from the BSC Parties to BSCCo Ltd and its various agents, including the operators of the SAA itself and the other BSC services. Similar documents will be produced to define the requirements for the other services. A convention has therefore been used for uniquely identifying the requirements in each document, so as to ensure that the fulfilment of each requirement can be unambiguously traced through the subsequent functional specification, design and implementation. This is of particular importance for the implementation of the SAA, CRA and CDCA services, which use a single integrated computer system. This document does not, however, attempt to describe the integration of those services, which would be inappropriate for this SAA User Requirement Specification (URS).

The requirements which have been identified have been divided into four categories:

- Functional requirements - those requirements relating to a specific business activity, usually requiring some degree of automated support;

- Interface requirements - the detailed requirements for the exchange of data between the SAA, the other BSC services shown above, and the external participants (and covered in more detail in the Interface Definition and Design (IDD) documents);

- Non-functional requirements - those requirements relating to such activities as security (both physical and user access related), audit, and system housekeeping (systems backups and archiving etc.).  It is anticipated that the majority of these will be common to all of the services to be provided;

- Service requirements - the underlying service delivery requirements of the SAA service, including such as issues as performance, volumetrics, number of Settlement runs to be carried out.

These requirements are catalogued in sections 5 to 8 respectively.

# 2	Introduction

This document is the User Requirements Specification (URS) for the Settlement Administration Agent role within the Balancing and Settlement Code Services. It is one of a set of documents forming the baseline for requirements of the seven BSC central system services. This document set comprises:

- BMRA URS;

- CRA URS;

- SAA URS;

- ECVAA URS;

- CDCA URS;

- FAA URS;

- SVAA URS;

- Interface Specification.

The objective of this document is to provide a complete specification of the requirements that the SAA service must meet, from the users’ point of view. For this purpose, the “users” include BSCCo Ltd, Ofgem, National Electricity Transmission System Operator (NETSO) as the balancing mechanism operator, other Service Providers, BSC Parties (including Distribution companies as parties), and the SAA Service Provider’s own operators.

This User Requirements Specification forms the input to the System Specification for the SAA Service. The System Specification constitutes the definition of the computer system requirements to be built in support of the SAA Services.

It should be noted that whereas this URS describes the requirements of the SAA Service in isolation, the computer system built to support these requirements will be a combined SAA, CRA and CDCA system.

# 3	Scope of Specification

This document provides a specification of the requirements for the Settlement Administration Agent (SAA) Service within the BSC Services Agreement. The requirements are described from the point of view of the SAA Service users.

The document is divided into the following chapters.

- Chapter 4, Business and System Overview - describes the business context of the SAA Service;

- Chapter 5, Functional Requirements - describes the functional requirements of the Service from the point of view of the Service users;

- Chapter 6, Interfaces Requirements - describes the interfaces with the external users of the Service;

- Chapter 7, Non-Functional Requirements - describes the non-functional requirements of the Service, such as auditing, security and resilience;

- Chapter 8, Service Requirements - describes the service delivery requirements of the Service, such as performance and volumetrics;

- Chapter 9, User Roles and Activities - describes the roles supporting day to day operation of the Service and external users of the Service, such as other Service Providers and BSCCo Ltd;

- Appendix A: Glossary - includes a glossary of terms and acronyms;

- Appendix B: Requirements Compliance Matrix - shows the mapping of requirements defined by this document to requirements set out in the Customer’s Tender Invitation documents;

- Appendix C: Logical Data Model;

- Chapter 14, Appendix D: Business Process Model.

# 4	Business and System Overview

This section provides an overview of the Settlement Administration Agent (SAA) business requirements and is for indicative purposes only. The definitive statement of requirements are given in the following chapters.

## 4.1	Summary of Business Requirements

The SAA will receive the inbound data, provided by other BSC Services, and perform calculations based on the validated data such that the financial debits and credits determined under the BSC of each BSC Party can be determined.  The Funds Administration Agent will then be advised of the required financial transfers. This operation will be performed in accordance with the Settlement Timetable. The SAA service will also produce reports for distribution to BSC Parties and others, such as BSCCo Ltd and the NETSO.

The information the SAA service will calculate will include:

- Balancing Mechanism accepted bid/offer volumes and prices,

- Volumes and charges,

- System Buy and System Sell price,

- BM Unit Transmission Loss Multipliers,

- Interconnector Error Administrator’s energy volumes,

- Information Imbalance Charges,

- Credited  energy  volumes,

- Non-delivery volumes and charges,

- Energy imbalance charges,

- Other costs, including System Operator charge, BSCCo Ltd administration charge, and SAA administration charge and Residual cash-flow reallocation.

Services will be provided to support the Disputes Process, including re-runs of the Settlement calculations as required.

In addition, the SAA service will produce and publish the Settlement Calendar.

## 4.2	The Settlement Calendar

The settlement rules require the SAA to perform at least six standard settlement runs in respect of each settlement day, together with any dispute requested under the auspices of the BSC. The set of settlement runs to be carried out for each settlement day will consist of:

- Interim Initial Settlement;

- Initial Settlement;

- Reconciliation Settlement (3 runs)

- Final Reconciliation;

- Settlement Dispute (runs as necessary).

The Settlement Calendar will be constructed so as to smooth the processing of these settlement runs, as necessary, across available working days with the aim of reducing the necessity of running more than ten settlements runs on any given working day and to meet the payment timetable as produced by the FAA.

The CDCA is required to supply the ECVAA with aggregated BM Unit Meter Volume data for Credit Cover purposes. Although not part of Settlement this 'Credit Cover Volume Allocation Run' will be scheduled from and be part of the Settlement Calendar.

## 4.3	Service Context

The following diagram illustrates the context of the SAA service within the wider market of the Balancing and Settlement Code. This is a simplified view for clarity; section 6 describes the interfaces from the SAA service to other parties in detail.

| Item | Description |
| --- | --- |
| Bank | A bank which receives debit and credit instructions from the Funds Administration Agent. |
| BMRA | Balancing Mechanism Reporting Agent. |
| BSC Party | A signatory to the Balancing and Settlement Code |
| BSCCo Ltd | The Balancing and Settlement Code Company. |
| CDCA | Central Data Collection Agent. |
| CRA | Central Registration Agent |
| Credit Agency | A credit agency which provides credit rating data on BSC Parties. |
| ECVAA | Energy Contract Volume Aggregation Agent. |
| ECVNA | Energy Contract Volume Notification Agent. |
| FAA | Funds Administration Agent. |
| IA | Interconnector Administrator. |
| IEA | Interconnector Error Administrator |
| Meter | A physical meter registered within the Balancing and Settlement Code arrangements. |
| MIDP | Market Index Data Provider |
| MVRNA | Metered Volume Reallocation Notification Agent |
| NETSO | National Electricity Transmission System Operator as the holder of the Transmission Licence and any reference to "NETSO", "NGESO", "National Grid Company" or "NGC" in the Code or any Subsidiary Document shall have the same meaning. |
| MOA | Meter Operation Agent. |
| Public | A member of the general public. |
| SAA | Settlement Administration Agent. |
| SVAA | Supplier Volume Aggregation Agent, equivalent to the current Initial Settlement and Reconciliation Agent (ISRA). |
| TAA | Technical Assurance Agent. |

## 4.4	Requirements Summary

The following table summarises the requirements of the SAA service. These are then described in detail in section 5, including the source reference for each requirement.

| Requirement ID. | User Requirement |
| --- | --- |
| Functional |  |
| SAA-F001 | Produce Settlement Calendar |
| SAA-F002 | Validate settlement data |
| SAA-F003 | Validate SVAA meter data |
| SAA-F004 | Calculate Supplier BM Unit Metered Volumes |
| SAA-F005 | Calculate balancing mechanism volumes and Replacement Reserve volumes |
| SAA-F006 | Calculate BM unit transmission loss multipliers |
| SAA-F007 | Calculate balancing mechanism cashflows |
| SAA-F008 | Calculate Credited Energy Volumes |
| SAA-F009 | Calculate energy imbalance prices |
| SAA-F010 | Calculate interconnector error |
| SAA-F011 | Calculate energy imbalance cashflows |
| SAA-F012 | Validate Adjustment Data |
| SAA-F013 | Calculate information imbalance charges |
| SAA-F014 | Calculate non-delivery volumes |
| SAA-F015 | Calculate non-delivery charges |
| SAA-F016 | Calculate system operator BM cashflow |
| SAA-F017 | Calculate residual cashflows |
| SAA-F018 | Allocate BSCCo Ltd Costs (Redundant) |
| SAA-F019 | Aggregate charges and payments |
| SAA-F020 | Validate Market Index Data |
| SAA-F021 | Manage settlement disputes |
| SAA-F022 | Provide settlement reports |
| SAA-F023 | Process Market Index Data Provider Liquidity Thresholds |
| SAA-F024 | Daily Check for Missing Settlement Calculation Data Flows |
| SAA-F025 | Process Withdrawals Party Settlement Details |
| SAA-F026 | Process Emergency Acceptance Data |
| SAA-F027 | Calculate BM Unit Gross Demand for EMR |
| SAA-F029 | Calculate Trading Unit Data |
| SAA-F030 | Determine Replacement Reserve Schedules |
| SAA-F031 | Determine Deemed Standard Product Variables |
| SAA-F032 | Determine Period Supplier BM Unit Delivered Volume for Secondary BM Units |
| SAA-F033 | Calculate Deemed Standard Volumes and RR Instructed Deviation Volumes |
| Interface |  |
| SAA-I001 | Receive Registration Data |
| SAA-I002 | Receive Credit Assessment Load Factor |
| SAA-I003 | Receive Balancing Mechanism Data |
| SAA-I004 | Receive Period Meter Data |
| SAA-I005 | Requirement not currently used |
| SAA-I006 | Receive Interconnector User BM Unit Metered Volumes |
| SAA-I007 | Receive BM Unit Allocated Demand Volume |
| SAA-I008 | Receive Energy Contract Data |
| SAA-I009 | Receive Transmission Loss Data |
| SAA-I010 | Receive BSCCo Ltd Cost Data (Redundant) |
| SAA-I011 | Receive Payment Calendar Data |
| SAA-I012 | Receive Dispute Notification |
| SAA-I013 | Issue Credit/Debit Reports (initial and revised) |
| SAA-I014 | Issue Settlement Reports |
| SAA-I015 | Issue BM Unit CAIC Data |
| SAA-I016 | Publish Settlement Calendar |
| SAA-I017 | Issue SAA Data Exception Reports |
| SAA-I018 | Issue Dispute Reports |
| SAA-I019 | Issue BSC Party Performance Reports (Redundant) |
| SAA-I020 | Issue SAA Performance Reports |
| SAA-I021 | Receive Acknowledgement of SAA Messages |
| SAA-I022 | Issue SAA Acknowledgement of Messages |
| SAA-I023 | Receive System Parameters |
| SAA-I025 | SAA BSC Section D Charging Data |
| SAA-I026 | Receive Balancing Services Adjustment Data |
| SAA-I027 | Report pre-settlement run validation failure |
| SAA-I028 | Receive settlement run decision |
| SAA-I029 | Receive settlement run instructions |
| SAA-I030 | Receive Market Index Data |
| SAA-I031 | Receive Market Index Data Provider Thresholds |
| SAA-I032 | Report Market Index Data Provider Thresholds |
| SAA-I033 | Receive Request for Data Change |
| SAA-I034 | Report Recommended Data Change |
| SAA-I035 | Receive Instruction for Data Change |
| SAA-I036 | Report Confirmation of Data Change |
| SAA-I037 | Issue Withdrawing Party Settlement Details |
| SAA-I038 | Receive Excluded Emergency Acceptance Pricing Information |
| SAA-I039 | Send Excluded Emergency Acceptance Dry Run Results |
| SAA-I040 | Receive Authorisation To Proceed With Full Settlement Run |
| SAA-I043 | Demand Control Instructions to CDCA |
| SAA-I044 | Aggregated BM Unit Disconnection Volumes |
| SAA-I049 | Trading Unit Data |
| Non-Functional |  |
| SAA-N001 | Audit Requirements |
| SAA-N002 | Security Requirements |
| SAA-N003 | Operational Control |
| SAA-N004 | Euro Compliance |

## 4.5	Numbering Scheme for Requirement Definitions

As described in section 2, the set of baseline requirement documents includes a User Requirements Specification for each of the services of the central BSC systems (except FAA - see footnote 1). Within these documents each requirement across the set of services is uniquely identified to provide traceability of each individual requirement from URS to System Specification (functional specification) and then to Design Specification (technical specification).

In keeping with industry good practise, this URS adopts a requirements numbering system that works as follows:

1.	Each requirement is associated with either an individual service, or as common to all services supported by the central systems. (TAA is typically excluded from the latter.) If a requirement applies to more than one service, but not all (e.g. two out of six), then the requirement is restated for each, i.e. there would be two separately numbered requirements (which happen to be the same) in this example.

Each requirement is prefaced by one of the following codes, as a clear indicator as to which service generates the business need:

- CRA (Central Registration Agent);

- SAA (Settlement Administration Agent);

- CDCA (Central Data Collection Agent);

- ECVAA (Energy Contract Volume Aggregation Agent);

- BMRA (Balancing Mechanism Reporting Agent);

- TAA (Technical Assurance Agent);

- FAA (Funds Administration Agent);

- GEN (General).

2.	Requirements are categorised into the following headings:

- Functional (F), a specific business requirement of the service.

- Interface (I), a requirement for data exchange between services or to external parties.

- Non-functional (N), which includes auditing, security, resilience etc. The majority of these will probably be associated with the General (GEN) service.

- Service (S), which includes all time-related service delivery requirements, including performance and volumetrics.

3.	Within a service, each requirement has unique number in the range 001 to 999. Numbers are not unique across services. Leading zeroes are always included.

Combining 1, 2 and 3 thus gives the following format for numbering each requirement (including a separator character):

[Service]-[Category][Number]

For example:

- CRA-F001

- BMRA-S022

- GEN-N112

- SAA-I033

## 4.6	Attributes of Individual Requirements

For each identified requirement, the following items of information are represented in a tabular format:

Requirement ID: a unique identifier for the requirement, as described above.

Status: while the majority of SAA requirements will be mandatory for the Go Live date, others may not necessarily be. This field indicates whether the requirement is Mandatory (M) or Optional (O) in this context.

Title: a short descriptive title for the requirement.

BSC reference: a cross reference to the BSC documentation which is the original source of the business need. In most cases this will include a reference to the relevant Service Description and where appropriate, any Change Proposals or Modifications that have affected a particular requirement.

Man/auto: this field provides an indication as to whether a given requirement is likely to be satisfied by a manual, as opposed to automated, mechanism. For interface requirements an additional mechanism of ‘via shared database’ may be specified indicating that combined computer system will be built for the SAA, CRA and CDCA services. This mechanism statement is not however intended to be prescriptive, and the approach to supporting any individual requirement will be made definitively during the design phase.

Frequency: an indication of how often a business event will take place. Minimum, maximum and average frequencies, and any timing or scheduling requirements, are also identified here, as appropriate.

Volumes: data volumes associated with the requirement are identified here; this may include an estimate of the initial volume, and subsequent growth rates.

The requirement is then described in detail, with any associated specific non-functional and interface requirements separately identified. Any outstanding issues relating to the requirement definition are also identified.

# 5	Functional Requirements

This section describes the detailed set of business requirements for the Settlement Administration Service. To ensure traceability through to other deliverable documents such as the System Specification and Design Specification, each requirement is uniquely numbered, based on the convention described in section 4.

## 5.1	SAA-F001: Produce Settlement Calendar

| Requirement ID: SAA-F001 | Status: M | Title: Produce Settlement Calendar | BSC reference: SAA SD 5.2, SAA BPM 3.2, CP555, P215 |
| --- | --- | --- | --- |
| Man/auto: Manual | Frequency: On demand. | Volumes: |  |
| Functional Requirement: |  |  |  |
| The SAA shall produce a Settlement Calendar that is consistent with the Payment Calendar (published by the Funds Administration Agent) and defines when the Settlement runs should take place for each Settlement Day, taking account for bank holidays etc. (See NETA Clarification Note CR_99813_06b: 2.1) The calendar shall also specify when data needs to be provided to the SAA from each party/agent providing data in order to enable the payment calendar to be complied with. The calendar shall also specify when data needs to be provided to the ECVAA from each party/agent for the purposes of Credit Cover. The Settlement Calendar shall be provided to all such parties/agents for comment and shall be approved by BSCCo Ltd. |  |  |  |
| Non Functional Requirement: |  |  |  |
| The Settlement Calendar shall cover the year starting 1st April. FAA will issue a draft Payment Calendar to SAA by January 15th, and SAA shall respond with any comments to BSCCo Ltd within 5 working days of receipt. After resolution of any issues, FAA will issue the authorised Payment Calendar, by 31st January. On receipt of the authorised Payment Calendar from FAA, SAA shall prepare and issue a draft Settlement Calendar to BSCCo Ltd, CDCA and SVAA within 10 working days. On receipt of approval of the Settlement Calendar from BSCCo Ltd, SAA shall issue the approved Settlement Calendar to CDCA, SVAA and BSC Parties within two working days. |  |  |  |
| Interfaces: |  |  |  |
| Issues: |  |  |  |

## 5.2	SAA-F002: Validate settlement data

| Requirement ID: SAA-F002 | Status: M | Title: Validate settlement data | BSC reference: SAA SD 2, CP598, CP639, P78, P305, P344 |
| --- | --- | --- | --- |
| Man/auto: Manual & Automatic | Frequency: Once, on each settlement run & on demand. | Volumes: |  |
| Functional Requirement: |  |  |  |
| All received input data to the SAA shall be validated to confirm that it exists and is in the correct format to enable a settlement run to be executed. If expected settlement data is not received or is invalid the SAA shall take remedial action to obtain complete and corrected data from the relevant service, e.g. CRA, CDCA, ECVAA, BMRA SVAA , NETSO or BSC party. For all run types for the settlement day, the validation checks are: - check FPN data has been loaded for all settlement periods for BM Units that have their FPN flag set, or for which BOD data has been loaded; - check that Replacement Reserve Activation Data, GB Need Met Data and Interconnector Schedule Data, and Clearing Price has been loaded for all Quarter Hours from the NETSO. - check BSAD data has been loaded for all settlement periods; - check Bid/Offer data has been loaded for all settlement periods in which any BM Unit has a Bid Offer Acceptance; - check Interconnector User BM Unit metered volumes have been received for each Interconnector; - check Account Bilateral Contract Volumes and Metered Volume Reallocation Data have been received from the ECVAA; - check appropriate CDCA Aggregation Run has taken place; For Interim Initial settlement runs for Settlement Dates prior to the P253 effective date, the following additional check is performed: - check that no data relating to this settlement day has been loaded from the SVAA. In addition to the checks outlined above, the SAA will, on D+3, check that the required Market Index Data has been received. For Interim Initial settlement runs for Settlement Dates on or after the P253 effective date, and for all Initial Settlement and Reconciliation runs, the following additional check is performed: - check that Demand Control Event details has been received from BMRA or the NETSO (where revisions are sent) and loaded; - check that Loss of Load Probability and De-rated Margin data has been loaded from BMRA or if revised data has been sent by the NETSO, that this is loaded; - check that BM Unit Allocated Demand Volume and any BM Unit Allocated Disconnected Demand Disconnection Volume data, Secondary BM Unit Demand Volume and the Secondary BM Unit Supplier Delivered Volume relating to this settlement day has been loaded from the SVAA; and - check that Period BM Unit Demand Disconnection Volume data relating to this settlement day has been loaded from the CDCA. The SAA will report any failures of the above checks to BSCCo through manual flow SAA-I027 and await instruction on how to proceed. BSCCo shall immediately respond to the SAA through SAA-I028 with an indication as to whether to proceed making use of default functionality in the system, or whether to suspend the run pending further instruction. Instruction on how to proceed other than by substituting system default data shall be received by SAA from BSCCo through SAA-I029. |  |  |  |
| Non Functional Requirement: |  |  |  |
| Interfaces: |  |  |  |
| See SAA-I027, SAA-I028, SAA-I029 |  |  |  |
| Issues: |  |  |  |

## 5.3	SAA-F003: Validate SVAA meter data

| Requirement ID: SAA-F003 | Status: M | Title: Validate SVAA meter data | BSC reference: SAA SD 2.5.1, CP639, P305, P344 |
| --- | --- | --- | --- |
| Man/auto: Automatic | Frequency: Once, on each settlement run. | Volumes: |  |
| Functional Requirement: For Settlement Dates prior to the P253 effective date, the following validation shall be performed on receipt of BM Unit Allocated Demand Volume and BM Unit (BMUADVij), SVA Gross Demand data at the Loader: - check that the Interim Initial Settlement Run has been performed for that settlement date. If the above check fails, the entire flow shall be rejected and the SAA will report the failure of the above check to BSCCo through manual flow SAA-I027 but will not take any further action. If the Interim Initial Settlement Run has been performed and/or the Settlement Date is on or after the P253 effective date, processing continues with the following: - the CDCA Run Number & Settlement Date received from the SVAA matches the CDCA Run Number and Settlement Date received from the CDCA; - the Aggregated Supplier Volume Allocation received from the SVAA matches the GSP Group Take provided by CDCA (accounting for tolerances); The SAA will report the failure of the above check to BSCCo through manual flow SAA-I027 and await further instruction. BSCCo shall immediately respond to the SAA through SAA-I028 with an indication as to whether to proceed with the settlement run, or whether to suspend the run pending further instruction. Instruction on how to proceed shall be received by SAA from BSCCo through SAA-I029. - all BM Unit identifiers reported in the BM Unit Allocated Demand Volume data (BMUADVij) (and any BM Unit Allocated Demand Disconnection Volume data) (BMUADDVij) shall be valid for the settlement day - all Secondary BM Unit identifiers reported in the Secondary BM Unit Demand Volume (VBMUDVi2j) for each Volume Allocation Run shall be valid for the settlement day. - all Secondary BM Unit Supplier Delivered Volume (VBMUSDVi2ji) for each Volume Allocation Run shall be valid for the settlement day. Where this check fails, the metered volume shall be added into the Base BM Unit for the Supplier in the relevant GSP Group. The SAA will report the failure of the above check to BSCCo through manual flow SAA-I027 and await further instruction. The SAA shall notify BSCCo that it has undertaken the above defaulting in time for BSCCo to instruct the SAA otherwise, if deemed appropriate by BSCCo. BSCCo shall immediately respond to the SAA through SAA-I028 with an indication as to whether to proceed with the settlement run, or whether to suspend the run pending further instruction. Instruction on how to proceed shall be received by SAA from BSCCo through SAA-I029. The following Pre-Run additional checks shall be performed: - BM Unit Allocated Demand Volume, Secondary BM Unit Demand Volume, Secondary BM Unit Supplier Delivered Volume and any BM Unit Allocated Demand Disconnection Volume data has been received from SVAA. - the SVAA has supplied data for all supplier BM Units and Secondary BM Units The SAA will report any failure of the above checks to BSCCo through manual flow SAA-I027 and await instruction on how to proceed. BSCCo shall immediately respond to the SAA through SAA-I028 with an indication as to whether to proceed with the settlement run, or whether to suspend the run pending further instruction. Instruction on how to proceed shall be received by SAA from BSCCo through SAA-I029. - CDCA Run Number & Settlement Date received from SVAA matches that from CDCA. If there is a discrepancy, the SAA will check with the SVAA and CDCA. If the discrepancy cannot be resolved, the SAA will report the failure of the above check to BSCCo through manual flow SAA-I027 and await instruction on how to proceed. BSCCo shall immediately respond to the SAA through SAA-I028 with an indication as to whether to proceed with the settlement run, or whether to suspend the run pending further instruction. Instruction on how to proceed shall be received by SAA from BSCCo through SAA-I029. Note that where a volume is not specified for a Supplier BM Unit or Secondary BM Unit, no value is loaded. Where that volume is required in processing functions, a default value of zero is applied by the processing function. |  |  |  |
| Non Functional Requirement: |  |  |  |
| The SAA Service shall receive BM Unit Allocated Demand Volume, BM Unit Allocated Disconnection Demand Volume (where appropriate), Secondary BM Unit Demand Volume, Secondary BM Unit Supplier Delivered Volume and BM Unit and Secondary BM Units SVA Gross Demand in accordance with the Settlement Calendar. |  |  |  |
| Interfaces: |  |  |  |
| See SAA-I007, SAA-I027, SAA-I028, SAA-I029, SAA-I041 |  |  |  |
| Issues: |  |  |  |

## 5.4	SAA-F004: Calculate Supplier BM Unit Metered Volumes

| Requirement ID: SAA-F004 | Status: M | Title: Calculate Supplier BM Unit Metered Volumes | BSC reference: Modification P2, CP632, P344 |
| --- | --- | --- | --- |
| Man/auto: Automatic | Frequency: Once on each Settlement Run | Volumes: |  |
| Functional Requirement: |  |  |  |
| For Interim Initial settlement runs for Settlement Dates on or after the P253 effective date, and for all Initial Settlement and subsequent Settlement Runs, the SAA shall use the BM Unit Allocated Demand Volume, Secondary BM Unit Demand Volume and Secondary BM Unit Supplier Delivered Volumes received from SVAA via interface SAA-I007, SAA-I051 and SAA-I051. For Interim Initial Settlement Runs for Settlement Dates prior to the P253 effective date only, where this data is not available, the SAA shall calculate QMij for Supplier BM Units using data from previous Settlements Days and Periods, as follows. |  |  |  |
| 1: Determine the previous Settlement Day d΄ to use in estimating the Supplier BM Unit Metered Volumes for Settlement Day d as follows: Settlement Day d΄ shall be the most recent Settlement Day prior to d that is: a) the same day of the week as day d, b) not a clock change day, and c) a day on which an Initial Settlement (SF) Run has taken place. |  |  |  |
| 2: Determine the Settlement Period j΄ on Settlement Day d΄ to use in estimating the Supplier BM Unit Metered Volumes for Settlement Period j of Settlement Day d as follows: a) If day d is not a clock change day, then j΄ = j b) If day d is a short clock change day, then: i) If j 2 then j΄ = j ii) If j > 2 then j΄ = j +2 c) If day d is a long clock change day, then: i) If j 4 then j΄ = j ii) If j > 4 then j΄ = j – 2 |  |  |  |
| 3: Finally, having determined the variables j΄ and d΄, the BM Unit Metered Volume for Supplier BM Units in the Interim Initial Run shall be calculated as: QMij = GSPGTij * QMij΄ / GSPGTij Where: GSPGTij is the GSP Group Take for the GSP Group associated with BM Unit i in Settlement Period j on Settlement Day d QMij΄ is the BM Unit Metered Volume for BM Unit i in Settlement Period j΄ on Settlement Day d΄ GSPGTij΄ is the GSP Group Take for the GSP Group associated with BM Unit i in Settlement Period j΄ on Settlement Day d΄ If there is no BM Unit Metered Volume for BM Unit i in Settlement Period j΄ on Settlement Day d΄ (for example, because the BM Unit was not effective on that Day), then QMij shall be set to 0. |  |  |  |
| Non Functional Requirement: |  |  |  |
| Interfaces: |  |  |  |
| Issues: |  |  |  |

## 5.5	SAA-F005: Calculate balancing mechanism and Replacement Reserve volumes

| Requirement ID: SAA-F005 | Status: M | Title: Calculate balancing mechanism volumes and Replacement Reserve volumes | BSC reference: SAA BPM 3.5 SAA SD 3.2.2-7, 3.3, 3.4, 3.5, 3.6, 3.7, 3.8, 3.9, 3.10, 3.11, 3.12, 3.17.1, 3.18, 3.19, CP632, P71, CP754, P305, P344. |
| --- | --- | --- | --- |
| Man/auto: Automatic | Frequency: Once, on each settlement run. | Volumes: |  |
| Functional Requirements: A large number of intermediate calculations are required to produce the balancing mechanism volumes and RR Acceptance volumes. Note that balancing mechanism volumes and RR Acceptance volumes share processes till qAOknij(t) and qABknij(t) are calculated and then subsequently diverge. All calculation steps in this requirement are included here. Whilst all half-hourly integrated MWh energy quantities should be explicitly calculated as part of the settlement process, it is not intended that these continuous functions of time should actually be calculated or reported. The variables to which this applies are as follows: Final Physical Notification (FPNij(t)) Bid-Offer Volume (qBOnij(t)) Bid-Offer Upper Range (BOURnij(t)) Bid-Offer Lower Range (BOLRnij(t)) Acceptance Volume (qAkij(t)) Accepted Bid-Offer Volume (qABOknij(t)) Accepted Offer Volume (qAOknij(t)) Accepted Bid Volume (qABknij(t)) |  |  |  |
| 1: The value of Final Physical Notification, FPNij(t) shall be defined for times, t, falling within Settlement Period j by linear interpolation from the values of Point FPN (fFPNit), submitted for that Settlement Period j, for BM Unit i. |  |  |  |
| 2: For any value of Bid-Offer Number, n, the Bid-Offer Volume (qBOnij(t)) at any time t shall be defined by linear interpolation from the values of Point Bid-Offer Volume (fqBOnit) submitted for Settlement Period j for BM Unit i. |  |  |  |
| 3: Define Bid-Offer Upper Range for Bid-Offer Pairs with positive Bid-Offer Pair Numbers, and define the Bid-Offer Lower Range for Bid-Offer Pairs with negative Bid-Offer Pair Numbers. The Bid-Offer Upper Range is defined as follows: BOURnij(t) = FPNij(t) + n+qBOnij(t); and BOUR ij0(t) = FPNij(t) Where n+ represents a sum over all positive Bid-Offer Pairs, 1 to n. For Bid-Offer Pairs for which the associated Bid-Offer Pair Number n<0, the Bid-Offer Lower Range BOLRnij(t) is defined for all times in Settlement Period j as: BOLRnij(t) = FPNij(t) + n-qBOnij(t); and BOLR ij0(t) = FPNij(t) Where n- represents a sum over all negative Bid-Offer Pairs, -1 to n. On occasion, the NETSO may issue acceptances which exceed the Bid-Offer ranges: In the following equations, + represents a sum over all positive Bid-Offer Pairs (zero if there are none) - represents a sum over all negative Bid-Offer Pairs (zero if there are none) qAkij(t) is the acceptance level for acceptance k If, for any k, qAkij(t) > FPNij(t) + +qBOnij(t) then: if FPNij(t) >= 0 and there is at least one positive bid-offer pair, the highest numbered Bid-Offer pair is extended up to Maxk(qAkij(t)) otherwise, a new bid-offer pair is created with pair number one greater than the highest (or 1 if none exist) with: BOURnij(t) = Max{ FPNij(t) + +qBOnij(t), Maxk(qAkij(t)) } If, for any k, qAkij(t) < FPNij(t) + -qBOnij(t) then: if FPNij(t) <= 0 and there is at least one negative bid-offer pair, the lowest numbered Bid-Offer pair is extended down to Mink(qAkij(t)) otherwise, a new bid-offer pair is created with pair number one lower than the lowest (or -1 if none exist) with: BOLRnij(t) = Min{ FPNij(t) + -qBOnij(t), Mink(qAkij(t)) } |  |  |  |
| 4: The Acceptance Volume (qAkij(t)) attributable to each Bid-Offer Acceptance, including RR Schedule flagged Acceptances, shall be defined. This is undertaken through processing the Point Acceptance Volumes that define the MW output levels that the NETSO requested the BM Unit to operate for certain times within the Balancing Mechanism Window Period. Linear interpolation shall be used to define the profile of power output in MW expected to be delivered in each Settlement Period within the Balancing Mechanism Window Period as a result of Bid-Offer Acceptance, k. For times within the Balancing Mechanism Window Period prior to the first value Point Acceptance Volume for Bid-Offer Acceptance k, or after the last value, the value of the Acceptance Volume is set to the last calculated value of Acceptance Volume for those times. If no such previously calculated value of Acceptance Volume exists, then the Acceptance Volume will be set to the value of Final Physical Notification (FPNij(t)) for those times. Acceptance Volumes are then ordered by reference to increasing values of k. The diagram below shows a Bid-Offer Acceptance in relation to Point Acceptance Volumes and the Bid-Offer Upper and Lower Ranges. |  |  |  |
| 5: The Accepted Bid-Offer Volumes (qABOknij (t)) shall be defined in MW of a Bid or Offer from Bid-Offer Pair n accepted as a result of Bid-Offer Acceptance k that is not flagged as relating to an RR Instruction in Settlement Period j from BM Unit i. This is determined as follows: For n>0, qABOknij(t) = Max{Min(qAkij(t), BOURn ij(t)), BOURn-1ij(t)} - Max{Min(qAk-ij(t), BOURnij(t)), BOURn-1ij(t)} For n<0, qABOknij (t) = Min{Max(qAkij(t), BOLRnij(t)), BOLRn+1ij(t)} - Min{Max(qAk-ij(t), BOLRnij(t)), BOLRn+1ij(t)} Where, from all Bid-Offer Acceptances for which an Acceptance Volume has been determined for Settlement Period j, k- represents the last Bid-Offer Acceptance preceding k which covers time t. If there is no such Bid-Offer Acceptance, the value of qAk-ij(t) = FPNij(t) for each Acceptance k that is not flagged as relating to an RR Instruction. |  |  |  |
| 6: The Accepted Offer Volume (qAOknij(t)) and Accepted Bid Volume qABknij (t) shall be defined in MW by splitting the positive and negative parts of the Bid-Offer Acceptance Volume. The Accepted Offer Volume (qAOknij(t)) represents the volume (in MW) of Offer n accepted as a result of Bid-Offer Acceptance k from BM Unit i at times t within Settlement Period j. It is the positive part of the Bid-Offer Acceptance Volume, defined by: qAO knij(t) = Max {qABOknij(t), 0} Similarly, the Accepted Bid Volume (qABknij(t)) represents the volume of Bid n accepted as a result of Bid-Offer Acceptance k from BM Unit i at times t within Settlement Period j. It is the negative part of the Bid-Offer Acceptance Volume, defined by: qABknij (t) = Min {qABO knij(t), 0} The diagram below represents the volumes of Bids and Offers bought or sold as a result of a Bid-Offer Acceptance. |  |  |  |
| 7: The Period Accepted Offer Volume (QAOknij) and Period Accepted Bid Volume (QABknij) shall be calculated by integrating the Accepted Offer Volume and Accepted Bid Volume over all times in the Settlement Period, for each Acceptance k that is not flagged as relating to an RR Schedule. The Period Accepted Offer Volume (QAOknij) is determined by integrating the Accepted Offer Volume over all spot times t in Settlement Period j, for each Acceptance k that is not flagged as relating to an RR Schedule. It represents the half-hourly integrated volume of Offer n, in MWh, accepted as a result of Bid-Offer Acceptance k. The Period Accepted Bid Volume (QABknij) is determined by integrating the Accepted Bid Volume over spot all times, t, in Settlement Period, j for each Acceptance k that is not flagged as relating to an RR Schedule. It represents the half-hourly integrated volume of Bid n, in MWh, accepted as a result of Bid-Offer Acceptance k. The Period RR Accepted Offer Volume (RRAOknij) is established by integrating the Accepted Offer Volume over all spot times in the Settlement Period, for each Acceptance k that is flagged as relating to an RR Schedule. The Period RR Accepted Bid Volume (RRABknij) is established by integrating the Accepted Bid Volume over all spot times in the Settlement Period, for each Acceptance k that is flagged as relating to an RR Schedule. |  |  |  |
| 8: The Period BM Unit Total Accepted Offer Volume shall be calculated as follows for Acceptances that are not flagged as relating to an RR Schedule: QAOnij = kQAOknij The Period BM Unit Total Accepted Bid Volume shall be calculated as follows for Acceptances that are not flagged as relating to an RR Schedule: QABnij = kQABknij This is the total MWh volume of Offer or Bid n accepted from all Bid-Offer Acceptances. Where either of QAOnij or QABnij is non-zero, a flag (NZni) is set to record that a non-zero value has been calculated for the Settlement Period [see SAA-I014 sub flow 2 in IDD part 2]. The Period RR Total Accepted Offer Volume, for all Acceptances that are flagged as relating to an RR Schedule, and shall be established as follows: RRAOnij = k RRAOknij The Period RR Total Accepted Bid Volume, for all Acceptances that are flagged as relating to an RR Schedule shall be established as follows: RRABnij = k RRABknij Where k represents the sum over all Acceptances within the Settlement Period for RRABnij and RRAOnij. |  |  |  |
| 9: The Period BM Unit Balancing Services Volume shall be calculated as follows: QBSij = n (QAOnij + QABnij) + n (RRAOnij + RRABnij) + QASij + BMUADDVij – QDDij + QBSDij + SNBABSVDij where n represents the sum over all Bid-Offer Pair numbers for the BM Unit QASij is the BM Unit Applicable Balancing Services Volume BMUADDVij is the BM Unit Allocated Demand Disconnection Volume QDDij is the Period BM Unit Demand Disconnection Volume RRAOnij is the Period BM Unit RR Total Accepted Offer Volume RRABnij is the Period BM Unit RR Total Accepted Bid Volume QBSDij represents the Period Supplier Primary BM Unit Delivered Volume SNBABSVDij is the Supplier BM Unit Non BM ABSVD This represents the net volume of Balancing Services accepted in Settlement Period j for BM Unit i and the Period Supplier Primary BM Unit Delivered Volume (QBSDij). |  |  |  |
| 10: The Period FPN (FPNij) shall be calculated for each BM Unit i, by integrating the value of Final Physical Notification FPNij(t) across all times t, falling within Settlement Period j. The Period FPN is quoted in MWh. |  |  |  |
| 11: The Reserve Scarcity Price (RSVPj) shall be the value reported to the SAA by the BMRA. Only if the SAA receives updated/amended LoLP data from the NETSO for a Settlement Period, the RSVPj is calculated as: RSVPj = LoLPj * VoLL where LoLPj is the Final or latest Indicative Loss of Load Probability for the Settlement Period and VoLL is the Value of Lost Load system parameter. Until 1 November 2018, if the NETSO does not report there is no Final or Indicative Loss of Load Probability (or it is reported as ‘null’) available for the Settlement Period, then: RSVPj = 0. From 1 November 2018, if the NETSO does not report a Final Loss of Load Probability (or it is reported as ‘null’) for the Settlement Period, then the BMRA will use the most recent Indicative LoLP as though it were the Final LoLP, else if no Indicative LoLP is available then: RSVPj = 0. If the BMRA uses an Indicative LoLP in the absence of a Final LoLP provided to it by the NETSO, then the BMRA will set the Default LoLP Flag to ‘True’. |  |  |  |
| 12: The STOR Instructed Volume (QSIVtj) shall be calculated as follows: In respect of each Settlement Period that is in a STOR Availability Window, for each accepted Offer or BSAA that is a STOR Action, the STOR Instructed Volume (QSIVtj) shall be equal to the Period Accepted Offer Volume derived from an accepted Offer that is STOR Flagged. |  |  |  |
| 13: The STOR Action Price (STAPtj) shall be calculated as follows: In respect of each Settlement Period that is in a STOR Availability Window, for each accepted Offer that is a STOR action: STAPtj = max(POnij, RSVPj). In respect of each Settlement Period, for each Balancing Services Adjustment Action that is a STOR action: STAPtj = max(BSAPmj, RSVPj). |  |  |  |
| 14: The Demand Control Volumes shall be calculated as follows: The SAA shall receive, from the BMRA or the NETSO, and maintain Demand Control Event details. The SAA shall share these details with the CDCA via it shared database. The Start Point Demand Control level and End Point Demand Control Level shall be the Demand Control Event Estimates determined at the relevant times and dates notified by the NETSO. In respect of each Settlement Period, the Demand Control Volume for each Demand Control Event Stage shall be established by linear interpolation from the values of the Start Point Demand Control Level and End Point Demand Control Level. The System Demand Control Volume (QSDCj) shall be determined as the sum of the Demand Control Volumes where the Demand Control Volume Notice has the SMAF Flag set to ‘Yes’. The Balancing Demand Control Volume (QBDCj) shall be determined as the sum of the Demand Control Volumes where the Demand Control Volume Notice has the SMAF Flag set to ‘No’. |  |  |  |
| Special cases: Acceptances are processed in the order in which they are issued, with the exception of Acceptances that are flagged as relating to an RR Schedule, which shall be treated as issued at the Gate Closure time of the Replacement Reserve Auction Period to which they relate. No Acceptance Volume (qAkij(t)) shall be calculated for any spot times, t. where the following criteria are met: - qAkij(t) is not flagged as relating to a RR Schedule or a RR Instruction; and - there exists a qAk*ij(t) flagged as relating to a RR Schedule; and - BEGCT < qAkij(t) Bid-Offer Acceptance Time < qAk*ij(t) associated Replacement Reserve Activation Time; and - either: qAk-ij(t) (MW) < qAkij(t) (MW) < qAk*ij(t) (MW) or qAk*ij(t) (MW) < qAkij(t) (MW) < qAk-ij(t) (MW) where qAk-ij(t) represents the latest Acceptance Volume relating to the latest Acceptance issued prior to Gate Closure of the relevant Replacement Reserve Auction Period (BEGCT). If no such previously calculated value of Acceptance Volume qAk-ij(t) exists, then the Acceptance Volume shall be set to the value of FPNij(t) for those spot times; and where qAkij(t) (MW), qAk-ij(t) (MW) and qAk*ij(t) (MW) represent the associated spot time MW values. In the example below, a BOA, qAk-ij, is requested after BEGCT by the TSO. The BOA falls between an existing BOA, qAkij’ which is equal to the FPN as it was sent prior to BEGCT, and an RR Activation qAk*ij. |  |  |  |
| Non-Functional Requirement: |  |  |  |
| Interfaces: |  |  |  |
| Issues: |  |  |  |

## 5.6	SAA-F006: Calculate BM unit transmission loss multipliers

| Requirement ID: SAA-F006 | Status: M | Title: Calculate BM unit transmission loss multipliers | BSC reference: SAA SD 3.1, SAA BPM 3.6, SAA WS1 Action 24 CP1222, P278, P350, P344 |
| --- | --- | --- | --- |
| Man/auto: Automatic | Frequency: Once, on each settlement run. | Volumes: |  |
| Functional Requirements: |  |  |  |
| A number of intermediate calculations are required to produce the transmission loss multipliers. All calculation steps in this requirement are included here. |  |  |  |
| 1: All BM unit, other than Secondary BM Units, metered volumes shall be summed over their associated Trading Units to determine the net Import or Export meter volumes for each Trading Unit. Where the total Trading Unit meter volume is positive, all BM Units, other than Secondary BM Units, associated with this Trading Unit shall be classified as delivering to the Total System. Where the total Trading Unit meter volume is negative, all BM Units, other than Secondary BM Units, associated with this Trading Unit shall be classified as offtaking from the Total System. Note that, by default, a BM Unit not comprising a Trading Unit with other BM Units shall be considered to be a ‘Sole Trading Unit’ for the purposes of these calculations. The “delivering” and “offtaking” status of such a Trading Unit shall therefore be determined using the metered volume of the single BM Unit comprising that Trading Unit. This calculation takes place in each Settlement Period. |  |  |  |
| 2: The Transmission Loss Multipliers (TLMO+j and TLMOj) shall be calculated for the Settlement Period j. These are calculated as follows: TLMO+j = – {(Σ+QMij + ΣQMij) + Σ+(non-I) (QMij * TLFij)} / Σ+(non-I) QMij; TLMOj = {(–1)(Σ+QMij + ΣQMij) – Σ (non-I) (QMij * TLFij)} / Σ(non-I) QMij; Where: + represents a sum over all BM Units in Trading Units other than Secondary BM Units that are net deliverers of energy in Settlement Period j;  represents a sum over all BM Units in Trading Units other than Secondary BM Units that are net offtakers of energy in Settlement Period j; Σ+(non-I) represents a sum over all BM Units other than Interconnector BM Units and Secondary BM Units in Trading Units that are net deliverers of energy in Settlement Period j; and Σ(non-I) represents a sum over all BM Units other than Interconnector BM Units and Secondary BM Units in Trading Units that are net offtakers of energy in Settlement Period j. |  |  |  |
| 3: The BM Unit Transmission Loss Multiplier shall be calculated for each BM Unit in each settlement period. This shall be calculated as: TLMij = 1 + TLFij + TLMO+j for all non-Interconnector BM Units that are in Trading Units that are net deliverers of energy in Settlement Period j, TLMij = 1 + TLFij + TLMOj for all non-Interconnector BM Units that are in Trading Units that are net offtakers of energy in Settlement Period j, TLMij = 1 for all Interconnector BM Units irrespective of whether they are in Trading Units that are net deliverers or offtakers of energy in Settlement Period j. Where TLFij is the Transmission Loss Factor assigned to each BM Unit. This will allow imports and exports volumes to be scaled by location, as well as for adjusting the relative contributions to the total cost of losses from imports and exports. The values of  and TLFij will, in general be determined by the BSC. The value of is 0.45 and TLFij is calculated in accordance with Annex T-2 of the BSC. It should be noted that TLMs and TLFs are BM Unit specific variables. In respect of each Settlement Period, for each Secondary BM Unit, the Transmission Loss Multiplier shall be calculated as follows: TLMij = TLMij(Base) where TLMij(Base) means the value of TLMij calculated in the Settlement Period for BM Units belonging to the Base Trading Unit in the same GSP Group as the Secondary BM Unit. |  |  |  |
| Non-Functional Requirement: |  |  |  |
| Interfaces: |  |  |  |
| Issues: |  |  |  |

## 5.7	SAA-F007: Calculate balancing mechanism Replacement Reserve cashflows

| Requirement ID: SAA-F007 | Status: M | Title: Calculate balancing mechanism and Replacement Reserve cashflows | BSC reference: SAA SD 3.13, 3.14, 3.15, 3.16, 3.2.1, 3.2.8, SAA BPM 3.7, P344 |
| --- | --- | --- | --- |
| Man/auto: Automatic | Frequency: Once, on each settlement run. | Volumes: |  |
| Functional Requirements: |  |  |  |
| A number of intermediate calculations are required to produce the balancing mechanism cashflows. All calculation steps in this requirement are included here. |  |  |  |
| 1: The Period Acceptance Offer Cashflow CAOknij shall be calculated as: CAOknij = QAOknij * POnij * TLMij. The Period Acceptance Bid Cashflow CABknij shall be calculated as: CABknij = QABknij * PBnij * TLMij Where QABknij is the Period Accepted Bid Volume; QAOknij is the Period Accepted Offer Volume; PBnij is the Bid Price for the corresponding Bid; POnij is the Offer Price for the corresponding Offer; and TLMij is the Transmission Loss Multiplier for BM Unit i and Settlement Period j. The Period Acceptance Bid Cashflow (CABknij) and Period Acceptance Offer Cashflow (CAOknij) represent the Transmission Loss adjusted cashflow relating to BM Unit I for Balancing Mechanism action in Settlement Period j, allocated to Offer or Bid n, as a result of Bid-Offer Acceptance k. Under normal circumstances, the Period Acceptance Bid Cashflow will be negative as QABknij is negative and PBnij is normally positive. The Period Acceptance Bid Cashflow and the Period Acceptance Offer Cashflow need to be stored if required for reporting purposes. |  |  |  |
| 2: The Period BM Unit Offer Cashflow (COnij ) shall be calculated as: COnij = QAOnij * POnij * TLMij (=kCAOknij) The Period BM Unit Bid Cashflow (CBnij) shall be calculated as: CBnij = QABnij * PBnij * TLMij (=kCABknij) These represent the Transmission Loss adjusted cashflows relating to BM Unit i for Balancing Mechanism action in Settlement Period j, allocated to Offer or Bid n. Under normal circumstances the Period BM Unit Bid Cashflow will be negative. |  |  |  |
| 3: The Period BM Unit Cashflow (CBMij).shall be calculated as: CBMij = nCOnij + n CBnij This represents the total payment to BM Unit i as a result of accepted Balancing Mechanism action in Settlement Period j |  |  |  |
| 4: The Total System BM Cashflow (TCBMj) shall be calculated as: TCBMj = i CBMij This represents the total payments and charges in respect of Balancing Mechanism action for all BM Units (excluding any non-delivery adjustments) in Settlement Period j. |  |  |  |
| 5: The Quarter Hour RR Cashflow for a BM Unit (CCRiJ) is defined as: CCRiJ = RRAViJ * RRAPJ where RRAPJ represents the Quarter Hour RR Activation Price and RRAViJ is the RR Activation Volume established as follows: RRAViJ = Quarter Hour RR Activated Quantity * 0.25 |  |  |  |
| 6: The Period RR BM Unit Cashflow (CRRij) for a BM unit is calculated as: CRRij = J CCRiJ where J is the sum over all Quarter Hours J within Settlement Period j. |  |  |  |
| 7:The Daily Party RR Cashflow (CRRp) is calculated as: CRRp = j iϵp CRRij where j is the sum over all Settlement Periods and iϵp is the sum of all BM Units for which Party p is the Lead Party in that day. |  |  |  |
| 8: The Replacement Reserve Instructed Offer Deviation Cashflow (CDOij) and the Replacement Reserve Instructed Bid Deviation Cashflow (CDBij) for a BM Unit in a settlement period is the payment that results from a deviation from the Deemed Standard Product Shape and is determined as follows: CDOij = IODij * BEDPj CDBij = IBDij * BEDPj Where BEDPj is the Balancing Energy Deviation Price and is equal to zero. |  |  |  |
| 9: The Replacement Reserve Period Instruction Deviation Cashflow (CDRij) is the payment in respect of a BM Unit, as a result of deviation from the TERRE Standard Product Shape in the Settlement Period shall be and shall be determined as follows: CDRij = CDOij + CDBij |  |  |  |
| 10: The Daily Party RR Instruction Deviation Cashflow is determined as: CDRp = j iϵp CDRij where j is the sum over all Settlement Periods and iϵp is the sum of all BM Units for which Party p is the Lead Party in that day. |  |  |  |
| 11: The Total System RR Cashflow (TCRRj) for all BM units is calculated as: TCRRj = ij CRR ij + ij CDR ij where ij is the sum over all BM Units i and Settlement Period j. |  |  |  |
| Non-Functional Requirement: |  |  |  |
| Interfaces: |  |  |  |
| Issues: |  |  |  |

## 5.8	SAA-F008: Calculate Credited Energy Volumes

| Requirement ID: SAA-F008 | Status: M | Title: Calculate Credited Energy Volumes | BSC reference: RETA CR 005, RETA ERR 1, SAA SD 3.31, 3.32.1, SAA BPM 3.8, P71, P269, P344 |
| --- | --- | --- | --- |
| Man/auto: Automatic | Frequency: Once, on each settlement run. | Volumes: |  |
| Functional Requirements: A number of intermediate calculations are required to produce the Credited Energy Volumes. All calculation steps in this requirement are included here. |  |  |  |
| 1: When allocating the BM Unit Metered Volume (QMij) and the Period BM Unit Balancing Services Volume (QBSij) to Energy Account a for each Settlement Period j, under steps 2 and 3 below: Where BM Unit i is a Primary Production BM Unit (has a P/C Status of Production) for that Settlement Period j, then Energy Account a shall be the Production Energy Account Otherwise, Where BM Unit i is a Primary Consumption BM Unit (has a P/C Status of Consumption) for that Settlement Period j, then Energy Account a shall be the Consumption Energy Account For each Settlement Period j, the SAA shall determine the P/C Status of BM Unit i according to the rules applied by the CRA for the corresponding Settlement Day. The SAA shall retain a record of the P/C Status applied in the Credited Energy Volume calculation for each BM Unit i and Settlement Period j. |  |  |  |
| 2: The Credited Energy Volume QCEiaj from each Primary BM Unit i, shall be allocated to each Energy Account a of each Subsidiary Energy Account for each Settlement Period j, as follows: QCEiaj = {(QMij - QBSij)*(QMPRiaj/100) + QMFRiaj}*TLMij , Where aA, and A is the Lead Energy Account for BM Unit i; QMFRiaj is the Metered Volume Fixed Reallocation, a fixed volume in MWh, assigned to Energy Account a from BM Unit i in Settlement Period j; QMPRiaj is the Metered Volume Percentage Reallocation, the percentage of the BM Unit Metered Volume that remains after Balancing Actions have been deducted, which is allocated to Energy Account a from BM Unit i in Settlement Period j; and QMij is the Primary BM Unit Metered Volume.” QCEiaj are rounded down to the nearest kWh. where “i” in relation to QMij and QBSij represents Primary BM Units only |  |  |  |
| 3: The Lead Party Credited Energy Volume shall be calculated for the Lead Energy Account, for each Primary BM Unit i, in each Settlement Period j, as follows: QCEiAj = (QMij * TLMij) - aA QCEiaj Where aA represents a sum over all Energy Accounts, other than the Lead Energy Account and “i” in relation to QMij and QBSij represents Primary BM Units only. This allocates any residual metered volume, including any Balancing Mechanism action to the Lead Energy Account. This ensures that all the BM Unit Metered Volume flow is always allocated in full. |  |  |  |
| 3: The Account Credited Energy Volume (QACEaj).shall be calculated for each Energy Account a, as follows: QACEaj = i QCEiaj where i represents the sum over all Primary BM Units. |  |  |  |
| Non-Functional Requirement: |  |  |  |
| Interfaces: |  |  |  |
| Issues: |  |  |  |

## 5.9	SAA-F009: Calculate energy imbalance prices

| Requirement ID: SAA-F009 | Status: M | Title: Calculate energy imbalance prices | BSC reference: SAA SD 3.24.1, 3.24.2, 3.26, 3.27, 3.28, 3.29, SAA BPM 3.9, CR003, P8, P10, P18A, CP598, P71, P72, P78, P194, P217, P305. |
| --- | --- | --- | --- |
| Man/auto: Automatic | Frequency: Once, on each Settlement Run. | Volumes: |  |
| Functional Requirements: |  |  |  |
| A number of intermediate calculations are required to produce the energy imbalance prices. All calculation steps in this requirement are included here. (Note: In order that Energy Imbalance Prices may be calculated as soon as possible after a particular Settlement Period has ended, Energy Imbalance Prices will not be adjusted in order to account for volumes of non-delivered Bids and/or Offers.) |  |  |  |
| For Settlement Days before the P217 effective date apply PAR Tagging in addition to NIV Tagging, as defined in SAA-F009a. For Settlement Days after, and including, the P217 effective date apply Replacement Price Classification, as defined in SAA-F009b. |  |  |  |
| Non-Functional Requirement: |  |  |  |

### 5.9.1	SAA-F009a: Apply Net Imbalance Volume and Price Averaging Reference Tagging

This section is no longer used.

### 5.9.2	SAA-F009b: Calculate Imbalance Prices post P217

| Requirement ID: SAA-F009b | Status: M | Title: Apply Replacement Price Classification | BSC reference: P217, P305, P344. |
| --- | --- | --- | --- |
| Man/auto: Automatic | Frequency: Once, on each Settlement Run. | Volumes: |  |
| Functional Requirements: |  |  |  |
| 1: Identify Short-Duration Acceptances. The rules for identifying Short-Duration Acceptances are: a. Acceptances for each BM Unit are grouped into sets of overlapping acceptances (for the avoidance of doubt, if two acceptances are contiguous, i.e. the last spot time of one acceptance matches the first of another, then the two are considered to overlap). b. The overall duration of the group is computed (earliest spot time of any acceptance in a group to latest spot time of any acceptance in a group). c. In relation to any Demand Control Volume, the Continuous Acceptance Duration shall be the duration of the period commencing at the Demand Control Event Start Point and ending at the Demand Control Event End Point. d. If the overall duration is less than the Continuous Acceptance Duration Limit, CADLd then the Short Duration Acceptance flag for each acceptance in the group is set to show that it is a Short-Duration Acceptance. If CADLd = 0 then no acceptances are “Short-Duration Acceptances”. CADLd will be an integer number of minutes from 0 to 30. Short-Duration Acceptances will be considered to be “CADL Flagged” for the purposes of the System Price Calculation process. |  |  |  |
| 2: Compute Total Volumes: a. Total Volume of Offers TQAOj = inQAOnij where: Σi represents the sum over all BM Units; Σn represents the sum over all accepted Offers b. Total Volume of Bids TQABj = inQABnij where: Σi represents the sum over all BM Units; Σn represents the sum over all accepted Bids c. Total Period Applicable Balancing Services Volume TQASj = iQASij where: Σi represents the sum over all BM Units; d. Total Balancing Services Adjustment Buy Volume TBVAj = mQBSABmj where: Σm represents the sum over all Balancing Services Adjustment Buy Actions. e. Total Balancing Services Adjustment Sell Volume TSVAj = mQBSASmj where: Σm represents the sum over all Balancing Services Adjustment Sell Actions f. TQSIVj = tQSIVtj where: Σt represents the sum over all STOR Actions. g. TQSDCj = QSDCj where: Σ represents the sum over all System Demand Control Volumes. h. TQBDCj = QBDCj where: Σ represents the sum over all Balancing Demand Control Volumes. |  |  |  |
| 3: Identify “De Minimis Acceptance Volumes” (De Minimis Tagging). Acceptances(including those that are STOR Flagged) with a Total Accepted Volume less than the De Minimis Acceptance Threshold (i.e. where values of ¦QAOnij¦ < DMATd or ¦QABnij¦ < DMATd) are identified as “De Minimis Acceptance Volumes” and are therefore considered to be De Minimis Tagged. Balancing Services Adjustment Actions (including those that are STOR Flagged) with a Volume less than the De Minimis Acceptance Threshold (i.e. where values of ¦QBSABmj¦ < DMATd or ¦QBSASmj¦ < DMATd) are identified as “De Minimis Acceptance Volumes” and are therefore considered to be De Minimis Tagged. Demand Control Volumes with a volume less than the De Minimis Acceptance Threshold (i.e. where values of ¦QSDCj¦ < DMATd or ¦QBDCj¦ < DMATd) are identified as “De Minimis Acceptance Volumes” and are therefore considered to be De Minimis Tagged. De Minimis Tagged System Actions are excluded from the price calculations as they may distort the results. If DMATd is set to 0, then no volumes will be tagged in this way. DMATd will always be a positive number or 0. |  |  |  |
| 4: Build Buy and Sell Stacks. Buy System Actions (QSBwj) are considered to be: i. All those Accepted Offers (QAOknij) which are not “De Minimis Acceptance Volumes” and not STOR Actions; ii. All Balancing Services Adjustment Buy Actions (QBSABmj) which are not “De Minimis Acceptance Volumes” and not STOR Actions; iii. in relation to each STOR Action, the STOR Instructed Volume (QSIVtj) which are not “De Minimis Acceptance Volumes”: iv. in relation to each Demand Control Impacted Settlement Period, the System Demand Control Volume (QSDCj) which are not “De Minimis Acceptance Volumes” v. in relation to each Demand Control Impacted Settlement Period, the Balancing Demand Control Volume (QBDCj) which are not “De Minimis Acceptance Volumes”. vi) in relation to Replacement Reserve Auction Results, the positive values of Quarter Hour Volume GB Need Met (VGBJj) in MWh for each Quarter Hour falling within Settlement Period j determined by the SAA as below: VGBJ = GBJ * 0.25 where GBJ represents the Quarter Hour RR Activated Quantity associated to the Quarter Hour GB Need Met for Quarter Hour ‘J’ (vii) in relation to Replacement Reserve Auction Results, Replacement Reserve Aggregated Unpriced System Buy Actions (RRAUSBj) determined by the SAA for each Settlement Period as below: RRAUSBj = max {(∑ni RRAO nij + ∑ni RRAB nij ), 0} + max (∑J VI nj , 0) – max (∑J VGB Jj, 0) where VIJ represents the Quarter Hour Volume Interconnector Schedule to be determined from the Quarter Hour Interconnector Schedule (IJ) as below; VIJ = IJ * 0.25 where IJ represents the Quarter Hour RR Activated Quantity associated to the Quarter Hour Interconnector Schedule for Quarter Hour ‘J’ Sell System Actions (QSSwj) are considered to be: i. All those Accepted Bids (QABknij) which are not “De Minimis Acceptance Volumes”; and ii. All Balancing Services Adjustment Sell Actions (QBSASmj) which are not “De Minimis Acceptance Volumes”. (iii) in relation to Replacement Reserve Auction Results, the negative values of Quarter Hour Volume GB Need Met (VGBJj) in MWh for each Quarter Hour falling within Settlement Period j determined by the SAA as below: VGBJ = GBJ * 0.25 where GBJ represents the Quarter Hour RR Activated Quantity associated to the Quarter Hour GB Need Met for Quarter Hour ‘J’ (iv) in relation to Replacement Reserve Auction Results, Replacement Reserve Aggregated Unpriced System Sell Actions (RRAUSSj) determined by the SAA for each Settlement Period as below: RRAUSSj = min {(∑ni RRAO nij + ∑ni RRAB nij ), 0} + min (∑J VI nj , 0) – min (∑J VGB Jj, 0) The price of a System Action is considered to be (SAPwj): i. In the case of an accepted Offer that is not a STOR Action, the Offer Price POnij; ii. In the case of an accepted Bid, the Bid Price PBnij; iii. In the case of Balancing Services Adjustment Actions that are not STOR Actions, Balancing Services Adjustment Price BSAPmj (derived from Cost/Volume, i.e. a £/MWh price); iv. In the case of a STOR Action, the STOR Action Price (STAPtj); or v. In the case of a System Demand Control Volume or a Balancing Demand Control Volume, the VoLL. (vi) In the case of Quarter Hour Volume GB Need Met, the associated Quarter Hour Replacement Reserve Activation Price (QHRRAPJ); and (vii) In the case of Replacement Reserve Aggregated Unpriced System Actions, the price shall be equal to zero. For each Settlement Period, all System Actions are listed in descending order of price, within the relevant Stack. Unpriced Balancing Services Adjustment Actions are placed at the top of the Buy Stack (as if most expensive) or the bottom of the Sell Stack (as if least expensive), as appropriate. For example: Buy Stack Sell Stack Vol(QSBwj) Price(SAPwj) Vol(QSSwj) Price(SAPwj) 12 - 7 25 24 45 15 8 15 40 5 7 50 10 5 4 20 10 10 - |  |  |  |
| 5: Apply Arbitrage Tagging. Starting from the most expensive Sell Action and least expensive Buy Action, each System Action is inspected for arbitrage, i.e. where the Sell Action’s price exceeds or is equal to the Buy Action’s price. Where arbitrage exists then equivalent amounts of volume are tagged out from both stacks until arbitrage no longer exists. Actions with the same price which are on the same stack are combined into a single item for the purpose of Arbitrage inspection. If, for a particular price, only a subset of the combined Buy (or Sell) Actions can be matched, then every Buy (or Sell) Action at that price is tagged to the same degree (a fraction equal to amount matched, for that price, over the total volume available, for that price), rather than tagging some of the individual Actions entirely, and others not at all. Extending the example from above: Buy Stack Sell Stack Vol(QSBwj) Price(SAPwj) Vol(QSSwj) Price(SAPwj) 12 - 7 25 24 45 15 8 15 40 5 7 50 45 10 5 4 20 18 10 10 - In this example there are two Buy Actions (total volume = 70 MWh, price = £10) matched to a single Sell Action (volume = 7 MWh, price = £25). The two Buy Actions therefore have an amount tagged equal to 7/70 times their volume ( 5 and 2 MWh respectively, for a total of 7 MWh tagged volume) Unpriced Balancing Services Adjustment Actions are ignored for the purposes of Arbitrage – i.e. once all Priced Actions on a Stack have been Arbitrage tagged then no further Arbitrage tagging can occur. The process of Arbitrage Tagging will only be carried out for Settlement Dates where the Arbitrage Flag (a dated system parameter) is set. |  |  |  |
| 6: Determine System Action Classification For each Settlement Period, the Buy and Sell Stacks are then updated by applying the following algorithm: All the First-Stage Flagged and Unflagged System Actions are identified on each Stack. A First-Stage Flagged System Action is one which is either: a) A Short-Duration (CADL Flagged) Acceptance; b) A SO-Flagged Acceptance; c) A SO-Flagged Balancing Services Adjustment Action; or d) A System Demand Control Volume. A First-Stage Unflagged System Action is one which is not a First-Stage Flagged System Action. Then, for the Buy Stack, all First-Stage Flagged System Actions with a price which is higher than the most expensive First-Stage Unflagged System Action are classified as Second-Stage Flagged System Actions. And, for the Sell Stack, all First-Stage Flagged System Actions with a price which is lower than the least expensive First-Stage Unflagged System Action are classified as Second-Stage Flagged System Actions. All Second-Stage Flagged System Actions are considered to be unpriced. |  |  |  |
| For example: Buy Stack Price - - 25 20 25 10 First-Stage Flag T T T - T - Second-Stage Flag T T T - - - Price - - - 20 25 10 Sell Stack Price 15 10 5 -10 - - First-Stage Flag - T T - T T Second-Stage Flag - - - - T T Price 15 10 5 -10 - - Note that unpriced Balancing Services Adjustment Actions are always classified as Second-Stage Flagged System Actions and therefore always remain unpriced. |  |  |  |

7: Apply NIV Tagging Starting from the least expensive Sell Action and most expensive Buy Action, Actions from the two stacks are matched and tagged until the smaller (in total volume) of the two stacks is completely tagged. Unpriced Actions are included in NIV Tagging. Unpriced Sell Actions are considered to be the least expensive Sell Actions and Unpriced Buy Actions are considered to be the most expensive Buy Action – i.e. where present they are the first Actions to be considered during the NIV Tagging process. Actions with the same price which are on the same stack are combined into a single item for the purpose of matching. If, for a particular price, only a subset of the combined Buy (or Sell) Actions can be matched, then every Buy (or Sell) Action at that price is tagged to the same degree (a fraction equal to amount matched, for that price, over the total volume available, for that price), rather than tagging some of the individual Actions entirely, and others not at all. Unpriced items are considered to be at the same price for the purpose of NIV Tagging. In the example from above the Buy Stack is the smaller (having only 70 MWh of total volume, as opposed to 100 MWh on the Sell Stack). The result of this process is that there will be, across the two stacks, a mixture of NIV Tagged and NIV Untagged stack items. Continuing the example from before: Buy Stack Sell Stack Tagged Status Price Vol Tagged Status Price Vol Tagged - 10 Untagged 15 15 Tagged - 0 Untagged 10 15 Tagged 25 5 Tagged 10 29 Tagged 20 20 Tagged 5 5 Tagged 15 5 Tagged -10 7 Tagged 10 30 Tagged - 25 Tagged - 4 Note that for the £10 price range only 29 out of the 44 available MWh of Sell Actions at that price can be tagged. Therefore each Sell Action in that price range would be tagged by an amount equal to 29/44 of their entire volumes. Expanding the example, and assuming that there are three Sell Actions that make up the 44 MWh: Sell Action Volume Tagged Volume Untagged Volume 1 20 20 x 29/44 = 13.182 20 x 15/44 = 6.818 2 10 10 x 29/44 = 6.591 10 x 15/44 = 3.409 3 14 14 x 29/44 = 9.227 14 x 15/44 = 4.773

8: Calculate and Apply Replacement Price The Replacement Price is calculated from a selection of those untagged items remaining after the NIV Tagging process which are priced System Actions (i.e. Unflagged Second-Stage System Actions). This selection is determined by the Replacement Price Average Reference (RPAR) Volume, and is defined as that volume of the most expensive priced System Action items remaining after NIV Tagging which is equivalent to the RPAR Volume (where necessary only part of an item’s volume will be considered selected in order that the total selected volume is equal to the RPAR Volume). Where the total remaining volume of untagged, priced System Action items is less than the RPAR Volume then all untagged, priced System Action items are selected. The Replacement Price is calculated as the volume weighed average price of the selected items. If NIV is positive then: RP j = w' (QSBw'j * SAPw'j) / w' QSBw'j and if NIV is negative then: RP j = w' (QSSw'j * SAPw'j) / w' QSSw'j Where w' is the sum over all RPAR Volume selected untagged, priced System Actions. Where no priced System Action items remain after NIV Tagging then the Replacement Price is the Market Price. If the Market Price is undefined then the Replacement Price is zero. The actual volume of Actions used to calculate the Replacement Price is defined as the Replacement Price Calculation Volume. If the Replacement Price is derived from the Market Price then Replacement Price Calculation Volume will be considered to be zero. Once calculated the Replacement Price is assigned to those remaining untagged stack items which are classified as Second-Stage Flagged System Actions, All such affected System Actions are considered to be “Repriced” System Actions.

9: Apply PAR Tagging Referencing the remaining Buy or Sell Stack (depending on whichever stack has untagged items remaining after NIV tagging), and starting from the most expensive Sell Stack item or least expensive Buy Stack item, Buy or Sell Stack items are tagged until the total remaining priced volume in the stack is not more than the Price Average Reference Volume (PARd). Actions with the same price which are on the same stack are combined into a single item for the purpose of matching. If, for a particular price, only a subset of the entire set of combined Sell Actions (or Buy Actions) can be matched, then every Sell Action (or Buy Action) at that price is tagged to the same degree (a fraction equal to amount matched, for that price, over the total volume available, for that price), rather than tagging some of the individual Sell Actions (or Buy Actions) entirely, and others not at all. For an example which demonstrates the principle of this mechanism see the section describing NIV tagging above. Continuing the example from above: All items in the Buy Stack are NIV Tagged, and only two items remain untagged in the Sell Stack, leaving a total of 30 MWh untagged volume. For example, if PARd was defined to have a value of 20 MWh, this would mean that 10 of the remaining 30 MWh should be PAR Tagged (to leave us with the required 20 MWh), leaving the stacks as follows: Buy Stack Sell Stack Tagged Status Price Vol Tagged Status Price Vol NIV Tagged - 10 PAR Tagged 15 10 NIV Tagged - 0 Untagged 15 5 NIV Tagged 25 5 Untagged 10 15 NIV Tagged 20 20 NIV Tagged 10 29 NIV Tagged 15 5 NIV Tagged 5 5 NIV Tagged 10 30 NIV Tagged -10 7 NIV Tagged - 25 NIV Tagged - 4 Note that where, after NIV Tagging, the remaining volume is less than or equal to the PARd then no items will be PAR Tagged.

10. Calculate Reported Period BM Unit Volumes It is now possible to calculate the following reported derived values: a. Period BM Unit Tagged Volume of Offers (QTAOnij) and Bids (QTABnij) are the amounts of QAOnij and QABnij respectively which were excluded from the System Price Stacks by De Minimis Tagging, Arbitrage Tagging, NIV Tagging and/or PAR Tagging. b. Period BM Unit Repriced Accepted Volume of Offers (QRAOnij) and Bids (QRABnij) are the amounts of QAOnij and QABnij respectively which were not NIV tagged (i.e. remain on the System Price Stacks after NIV Tagging) but which were Classified as Second-Stage Flagged and therefore subject to the Replacement Price. c. Period BM Unit Originally-priced Accepted Volume of Offers (QOAOnij) and Bids (QOABnij) are the amounts of QAOnij and QABnij respectively which were not NIV tagged (i.e. remain on the System Price Stacks after NIV Tagging) and were not Classified as Second-Stage Flagged and therefore not subject to the Replacement Price.

11. Calculate Reported Acceptance Volumes It is now possible to calculate the following reported derived values: a. The System Total Priced Accepted Volume of Offers (TQPAOj) and Bids (TQPABj) are the sum of QAOnij and QABnij respectively which were not Classified as Second-Stage Flagged. b. System Total Tagged Accepted Volume of Offers (TQTAOj) and Bids (TQTABj) are the sum of QAOnij and QABnij respectively which were excluded from the System Price Stacks by De Minimis Tagging, Arbitrage Tagging, NIV Tagging and/or PAR Tagging. c. System Total Repriced Accepted Volume of Offers (TQRAOj) and Bids (TQRABj) are the sum of QAOnij and QABnij respectively which were not NIV tagged (i.e. remain on the System Price Stacks after NIV Tagging) but which were Classified as Second-Stage Flagged and therefore subject to the Replacement Price. d. System Total Originally-priced Accepted Volume of Offers (TQOAOj) and Bids (TQOABj) are the sum of QAOnij and QABnij respectively which were not NIV tagged (i.e. remain on the System Price Stacks after NIV Tagging) and were not Classified as Second-Stage Flagged and therefore not subject to the Replacement Price.

12. Calculate Reported Adjustment Volumes It is now possible to calculate the following reported derived values: a. Total System Adjustment Volume of Buy Items (TSVAj) and Sell Items (TBVAj) are the sum of QBSABmj and QBSASmi respectively. b. Total System Tagged Adjustment Volume of Buy Items (TSTVAj) and Sell Items (TBSVAj) are the sum of QBSABmj and QBSASmi respectively which were excluded from the System Price Stacks by De Minimis Tagging, Arbitrage Tagging, NIV Tagging and/or PAR Tagging. c. Total System Repriced Adjustment Volume of Buy Items (TSRVAj) and Sell Items (TBRVAj) are the sum of QBSABmj and QBSASmi respectively which were not NIV tagged (i.e. remain on the System Price Stacks after NIV Tagging) but which were Classified as Second-Stage Flagged and therefore subject to the Replacement Price. d. Total System Originally-priced Adjustment Volume of Buy Items (TSOVAj) and Sell Items (TBOVAj) are the sum of QBSABmj and QBSASmi respectively which were not NIV tagged (i.e. remain on the System Price Stacks after NIV Tagging) and were not Classified as Second-Stage Flagged and therefore not subject to the Replacement Price.

13. The Total NIV Tagged Volume for a Settlement Period can now be calculated as: TCQj = {w QSBwj – w QSSwj} / 2 where Σw represents the sum over all System Actions which are NIV Tagged.

14. The actual Net Imbalance Volume (NIV) for each Settlement Period can then be calculated as follows: NIVj = w QSBwj – w (-QSSwj) where Σw represents the sum over all System Actions that are not De Minimis Tagged System Actions, and not Arbitrage Tagged System Actions.

15. The remaining offers and bid volumes shall be used in the calculation of the System Buy Price (SBPj) as follows: In respect of each Settlement Period, if the Net Imbalance Volume is not equal to zero and is a positive number, and {ΣiΣnΣk {QAOknij * TLMij} + Σm {QBSABmj + ΣtQSIVt + QSDCj + QBDCj}+ ΣJ {VGBjJ} + {RRAUSBj} is not equal to zero, then the System Buy Price will be determined as follows: SBPj = {ΣiΣnΣk {QAOknij * POnij * TLMij} + Σm {QBSABmj * BSAPmj} + Σt {QSIVtj * STAPtj} + {QSDCj + QBDCj} * VoLL} } + ΣJ {VGBJ * QHRRAPJ} + {RRAUSBj * 0} _______________________________________________________________________________________________ + {BPAj} {ΣiΣnΣk {QAOknij * TLMij} + Σm QBSABmj + Σt QSIVtj + QSDCj + QBDCj } + ΣJ {VGBjJ} + {RRAUSBj} where Σi represents the sum over all BM Units; Σk represents the sum over all Acceptances; Σn represents the sum over those Accepted Offers that are not De Minimis Tagged and not Arbitrage Tagged Offers and not NIV Tagged Offers and not PAR Tagged Offers; Σt represents the sum over all STOR actions POnij is the Price for the Offer acceptance n, for BM Unit i and Settlement Period j (which may be the Replacement Price); Σm represents the sum over those Balancing Services Adjustment Buy Actions that are not De Minimis Tagged and not Arbitrage Tagged Actions and not NIV Tagged Actions and not PAR Tagged Actions; ΣJ represents the sum over all Quarter Hour Volume GB Need Met in the Final Ranked Set of System Buy Actions; and BSAPmj is the Price for the Balancing Services Adjustment Buy Action m for Settlement Period j (which may be the Replacement Price); BPAj is the Buy-Price Price Adjustment; and The System Sell Price SSPj = SBPj.

16. The remaining offers and bid volumes shall be used in the calculation of the System Sell Price (SSPj) as follows: In respect of each Settlement Period, if the Net Imbalance Volume is not equal to zero and is a negative number, and {ΣiΣnΣk {QABknij * TLMij} + Σm {QBSASmj} + ΣJ {VGBjJ} + {RRAUSBj} is not equal to zero, then the System Sell Price will be determined as follows: SSPj = {SPAj} + {ΣiΣnΣk {QABknij * PBnij * TLMij} + Σm {QBSASmj * BSAPmj}} + ΣJ {VGBJ * QHRRAPJ} + {RRAUSBj * 0} ___________ ___________________________________________________________________________________ {ΣiΣnΣk {QABknij * TLMij} + Σm QBSASmj} + ΣJ {VGBjJ} + {RRAUSBj} where Σi represents the sum over all BM Units; Σk represents the sum over all Acceptances; Σn represents the sum over those Accepted Bids that are not De Minimis Tagged and not Arbitrage Tagged Bids and not NIV Tagged Bids and not PAR Tagged Bids; PBnij is the Price for the Bid acceptance n, for BM Unit i and Settlement Period j (which may be the Replacement Price): Σm represents the sum over those Balancing Services Adjustment Sell Actions that are not De Minimis Tagged and not Arbitrage Tagged Actions and not NIV Tagged Actions and not PAR Tagged Actions; BSAPmj is the Price for the Balancing Services Adjustment Buy Action m for Settlement Period j (which may be the Replacement Price); SPAj is the Sell-Price Price Adjustment; and The System Buy Price SBPj = SSPj.

16a. If, for any Settlement Period, if the Net Imbalance Volume is equal to zero or is a positive number, if {ΣiΣnΣk {QAOknij * TLMij} + ΣmQBSABmj + ΣtQSIVt + QSDCj + QBDCj} + ΣJ {VGBjJ} + {RRAUSBj} is equal to zero, then SBPj = SSPj = Market Price (MPj)

16b. If, for any Settlement Period, if the Net Imbalance Volume is equal to zero or is a negative number, if {ΣiΣnΣk {QABknij * TLMij} + ΣmQBSABmj}+ ΣJ {VGBjJ} + {RRAUSSj} is equal to zero, then SBPj = SSPj = Market Price (MPj)

16c. If, for any Settlement Period, ΣsQXPsj = 0, where Σs represents the sum over all Index Providers; QXPsj is the Market Index Volume for Index Providers and Settlement Period j Then if the Net Imbalance Volume is not equal to zero or is a positive number, if {ΣiΣnΣk {QAOknij * TLMij} + ΣmQBSABmj + ΣtQSIVt + QSDCj + QBDCj} is equal to zero, then SBPj = SSPj = 0 if the Net Imbalance Volume is not equal to zero and is a negative number, if {ΣiΣnΣk {QABknij * TLMij} + ΣmQBSASmj} is equal to zero, then SBPj = SSPj = 0

17. The Price Adjustment parameters shall be set through the automatic interface SAA-I026, as directed by NETSO. Note that if no adjustment data has been provided for Settlement Period j then a value of zero will be used for both of the Price Adjustment parameters. The system parameters like RPARd, PARd, Arbitrage Flag, DMATd, CADLd and VoLL are received from BSCCo Ltd through the manual flow SAA-I023. Market Index Data is received from Market Index Data Providers through the automatic flow SAA-I030. The SAA shall, for the purposes of performance reporting, record details of those cases where: 1. A value of zero was used for Market Index Price and Volume are used for a Settlement Period, for the purposes of the Initial Interim Settlement Calculation 2. A Market Index Provider has failed to supply Market Index Data for any given Settlement Period, such that a default price and volume of zero are used for that Settlement Period, for the purposes of the Initial Interim Settlement Calculation. The SAA shall for the purposes of reporting, record a Price Derivation Code (PDCj) for each Settlement Period. This code will describe how the SBP and SSP were calculated. The possible values for the code, and their associated meaning, are defined in Appendix E.

Non-Functional Requirement:

## 5.10	SAA-F010: Calculate interconnector error

| Requirement ID: SAA-F010 | Status: M | Title: Calculate interconnector error | BSC reference: SAA BPM 3.10, RETA ERR 3, CP555, CP632 |
| --- | --- | --- | --- |
| Man/auto: Automatic | Frequency: Once, on each settlement run. | Volumes: |  |
| Functional Requirements: |  |  |  |
| A number of intermediate calculations are required to produce the interconnector error. All calculation steps in this requirement are included here. |  |  |  |
| 1: The BM Unit Metered Volumes for Interconnector Users (QMij) shall be summed by Interconnector. These values are received from the Interconnector Administrator. Note that where a volume is not specified for an Interconnector User BM Unit, no value is loaded. Where that volume is required in processing functions, a default value of zero is applied by the processing function. Where a revised, or late, flow is received from an External Interconnector Administrator after the Interim Information Settlement Run has been issued for the relevant Settlement Day (s), then the flow shall not be automatically loaded, but instead the SAA should contact BSCCo Ltd and ask what action should be taken. BSCCo Ltd will then indicate to SAA whether or not to load the data. The SAA must be able to manually load the data if instructed to do so by BSCCo Ltd. |  |  |  |
| 2: The aggregated BM Unit Metered Volumes for Interconnector Users (SQMij) (obtained above) shall be compared with the aggregated meter reading (IMVj) (obtained from the Interconnector Metered Flow from the CDCA). The difference is the Interconnector Error Administrator Volume (ErrorVolj) which shall be allocated to the Interconnector Error Administrator BM Unit (or IEA BM unit). A positive (or zero) Error Volume is assigned to the production IEA BM Unit with zero assigned to the consumption IEA BM Unit; a negative Error Volume is assigned to the consumption IEA BM Unit with zero is assigned to the production IEA BM Unit. Formally: ErrorVolj = IMVj - SiQMij where ErrorVolj is the error volume for the Interconnector in period j and Si is the sum over all Interconnector User BM Units for the Interconnector For the production IEA BM Unit for the Interconnector QMij = Max (ErrorVolj, 0) For the consumption IEA BM Unit for the Interconnector QMij = Min (ErrorVolj, 0) Note: All Interconnector Users will have 2 BMU Units i.e. One for Production and Consumption respectively. |  |  |  |
| Non-Functional Requirement: |  |  |  |
| Interfaces: |  |  |  |
| Issues: |  |  |  |

## 5.11	SAA-F011: Calculate energy imbalance cashflows

| Requirement ID: SAA-F011 | Status: M | Title: Calculate energy imbalance cashflows | BSC reference: SAA SD 3.24.3, 3.30.1, 3.33, 3.34, 3.35, 3.36, 3.37, SAA BPM 3.11, CR028, P71, P344 |
| --- | --- | --- | --- |
| Man/auto: Automatic | Frequency: Once, on each settlement run. | Volumes: |  |
| Functional Requirements: |  |  |  |
| A number of intermediate calculations are required to produce the energy imbalance cashflows. All calculation steps in this requirement are included here. The SAA shall exclude the System Operator Production and Consumption Imbalance Volumes from the calculations in steps 3, 4, and 5 below. The System Operator Production Imbalance [redundant] and System Operator Consumption Imbalance [redundant] shall be reported to all parties on a Settlement Period basis. |  |  |  |
| 1: The Account Period Balancing Services Volume, QABSaj, for each Energy Account and Virtual Balancing Account, shall be calculated as follows: QABSaj = ia QBSij * TLMij + (i2QSNDi2j * TLMi2j) Where ia in relation to QBSij represents a sum over all Primary BM Units i for which Energy Account a is the Lead Energy Account; i2 in relation to QSNDi2j represents the sum over all Secondary BM Units for which such Energy Account or Virtual Balancing Account (as the case may be) is the corresponding Energy Account or Virtual Balancing Account of the Lead Party; TLMij is the Transmission Loss Multiplier for Primary BM Unit i in Settlement Period j. TLMi2j is the Transmission Loss Multiplier for the Secondary BM Unit i2 in Settlement Period j. The Account Period Bid-Offer Volume represents the net volume of accepted Balancing Mechanism Bids and Offers attributable to each Energy Account a, in Settlement Period j. |  |  |  |
| 2: The Account Energy Imbalance, QAEIaj, attributable to each Energy Account and Virtual Balancing Account in Settlement Period j, shall be calculated. This shall be determined by subtracting the Total Energy Contract Volume (QABCaj) and Account Period Balancing Services Volume (QABSij) from the Account Credited Energy Volume (QACEaj), as follows: QAEIaj = QACEaj – QABSaj – QABCaj Where the Total Energy Contract Volumes for each Energy Account and Virtual Balancing Account, is obtained from the Energy Contract Volume Aggregation Agent. |  |  |  |
| 3: The Total System Energy Imbalance Volume TQEIj (summed across all Energy Accounts a) shall be calculated as follows: TQEIj = a QAEIaj Where a is the sum of all Energy Accounts for Settlement Period j and a SO (NETSO) Energy Account(s). |  |  |  |
| 4: The Energy Imbalance Cashflow (CAEIaj).shall be calculated for each Energy Account a, in Settlement Period j as follows: If QAEIaj > 0, then CAEIaj = -QAEIaj * SSPj , Otherwise, CAEIaj = -QAEIaj * SBPj , Where SSPj is the System Sell Price and SBPj is the System Buy Price for Settlement Period j and a SO (NETSO) Energy Account(s). Thus, the price that applies to the Energy Imbalance Volume of a particular Energy Account shall depend on the net Energy Imbalance Position of that that Energy Account. |  |  |  |
| 5: The Total System Energy Imbalance Cashflow, TCEIj shall be calculated as: TCEIj = a CAEIaj Where a SO (NETSO) Energy Account(s) This represents the total cashflow relating to settlement of energy imbalances in Settlement Period j. |  |  |  |
| Non-Functional Requirement: |  |  |  |
| Interfaces: |  |  |  |
| Issues: |  |  |  |

## 5.12	SAA-F012: Validate Adjustment Data

| Requirement ID: SAA-F012 | Status: M | Title: Validate Adjustment Data | BSC reference: P78 |
| --- | --- | --- | --- |
| Man/auto: Automatic | Frequency: On demand | Volumes: |  |
| Functional Requirements: |  |  |  |
| The SAA shall validate Adjustment Data, on receipt, to ensure that: - One of Energy SVA and Energy BVA must be zero; - One of System SVA and System BVA must be zero. Where this is not the case, then the SAA will generate an exception to the NETSO (via the SAA-I017) detailing the reason for the exception. |  |  |  |
| Non-Functional Requirement: |  |  |  |
| This function only applies to BSAD data for Settlement Days after, and including the P78 effective date. |  |  |  |
| Interfaces: |  |  |  |
| SAA-I026, SAA-I017 |  |  |  |

## 5.13	SAA-F013: Calculate information imbalance charges

| Requirement ID: SAA-F013 | Status: M | Title: Calculate information imbalance charges | BSC reference: SAA SD 3.17.2, 3.20, 3.21, 3.22, 3.23, SAA BPM 3.13, CP596, P71 |
| --- | --- | --- | --- |
| Man/auto: Automatic | Frequency: Once, on each settlement run. | Volumes: |  |
| Functional Requirements: |  |  |  |
| A number of intermediate calculations are required to produce the information imbalance charges. All calculation steps in this requirement are included here. |  |  |  |
| 1: The Period Expected Meter Volume shall be calculated for each BM Unit in each Settlement Period as follows: QMEij = FPNij + QBSij Where FPNij is the Period FPN and QBSij is the Period BM Unit Balancing Services Volume. This is the volume of energy that a particular BM Unit is expected to produce or consume in Settlement Period j. |  |  |  |
| 2: The Period Information Imbalance Volume (QIIij) shall be calculated for each BM Unit in each Settlement Period as follows: QIIij = QMij - QMEij This is the modulus of the difference between the Period Metered Volume (QMij) and the Period Expected Metered Volume QMEij |  |  |  |
| 3: The Information Imbalance Charge (CIIij) shall be calculated for each BM Unit in each Settlement Period. CIIij is calculated by multiplying the Information Imbalance Volume, QIIij, by the appropriate Information Imbalance Price, (IIP1ij or IIP2ij). FPN flags apply to BM Units, the Lead Party will identify BM Units for which the flag will be set to ‘N’, the default value will be ‘Y’. This flag will be used to indicate whether a Party is required to submit an accurate FPN for a particular BM Unit or not. The Lead Party will set these FPN flags through the CRA Interfaces. The Information Imbalance Charge will be calculated as follows: If FPN Flag is set to ‘Y’ then CIIij = QIIij * IIP1ij Else CIIij = QIIij * IIP2ij Endif where IIP1ij is the Information Imbalance Price 1 and IIP2ij is the Information Imbalance Price 2. These are both half-hourly variables, SAA will be notified by BSCCo Ltd. Both variables will initially be set to zero for all Settlement Periods. |  |  |  |
| 4: The Total System Information Imbalance Charge, TCIIj. shall be calculated for each settlement period as: TCIIj = i CIIij Where i is the sum over all values of BM Unit i. |  |  |  |
| Non-Functional Requirement: |  |  |  |
| Interfaces: |  |  |  |
| Issues: |  |  |  |

## 5.14	SAA-F014: Calculate non-delivery volumes

| Requirement ID: SAA-F014 | Status: M | Title: Calculate non-delivery volumes | BSC reference: SAA SD 3.38, 3.39, 3.40, 3.41, 3.42, SAA BPM 3.14, P344 |
| --- | --- | --- | --- |
| Man/auto: Automatic | Frequency: Once, on each settlement run. | Volumes: |  |
| Functional Requirement: |  |  |  |
| Non-delivery arises when there is a BM Unit imbalance in the opposite direction to the volume of accepted Offers and Bids, integrated over the Settlement Period. The following diagram illustrates a non-delivered volume. BM / RR A large number of intermediate calculations are required to produce the non delivery volumes. All calculation steps in this requirement are included here. |  |  |  |
| 1: The Period BM Unit Non-Delivered Offer Volume (QNDOij) shall be calculated for each BM Unit i in each Settlement Period j by processing the Period Expected Metered Volume (QMEij), Period Meter Volume (QMij), Period Accepted Offer Volume (nQAOnij) , and RR Accepted Offer Volumes (RRAOnij), as follows: QNDOij = Min{Max{QMEij – QMij, 0}, nQAOnij} + n RRAOnij)} where n, in relation to QAOnij, represents the sum over all Bid-Offer Pair Numbers for the Accepted Offer Volumes and n, in relation to RRAOnij, represents the sum over all Bid-Offer Pair Numbers for the RR Accepted Offer Volumes, for the BM Unit. |  |  |  |
| 2: The Period BM Unit Non-Delivered Bid Volume (QNDBij) shall be calculated for each BM Unit I in each Settlement Period j by processing the Expected Period Meter Volume (QMEij), Period Meter Volume (QMij), and Period Accepted Bid Volume (nQABnij) , and RR Accepted Bid Volumes (RRABnij), as follows: QNDBij = Max {Min{QMEij - QMij,0}, nQABnij }+ n RRABnij) ### where n, in relation to QABnij, represents the sum over all Bid-Offer Pair Numbers for the Accepted Bid Volumes and n, in relation to RRABnij, represents the sum over all Bid-Offer Pair Numbers for the RR Accepted Bid Volumes, for the BM Unit. Note that Bid volumes are negative, and so is the non-delivered Bid volume by this definition. |  |  |  |
| 3: The Offer Non-Delivery Volume (QNDOnij) shall be calculated as follows. If QNDOij > 0, then the Period BM Unit Non-Delivered Offer Volume is apportioned across all accepted Offers (AOnij), (being Accepted Offer Volumes (QAOnij) and for upward RR Activations within the Settlement Period the associated Deemed Standard Product Offer Volume (DSPOJij) and the Replacement Reserve Instructed Offer Deviation Volume (IODij)), to determine values of Offer Non-Delivery Volume. In each Settlement Period, the set of all accepted Offers (i.e. Offers for which AOnij >0) is considered. This set of Offers is then ranked from highest price to lowest price. The Non-Delivery Order Number u is used for this purpose. The Offer with the highest price is allocated a Non-Delivery Order Number of u=1, the next highest priced Offer is allocated a Non-Delivery Order Number u=2 and so on until all Offers in the Settlement Period is allocated a Non-Delivery Order Number. The set of Offers {AOn1ij, AOn2ij, …….. AOnuij} is therefore the ranked set of Offers. The Offer Non-Delivery Volume is allocated to the highest priced Offers first. The apportionment continues until the Period BM Unit Non-Delivered Offer Volume is fully apportioned or all available Offer Volumes have been used up. Thus, the Offer Non Delivery Volume for Offer n, is: QNDOnij = Min(AOnuij, RQNDOu-1ij) Where RQNDOu-1ij is the Remaining Period BM Unit Non-Delivered Offer Volume determined as: RQNDOuij = RQNDOu-1ij - QNDOnu-1ij and RQNDO0ij = QNDOij, and QNDOn0ij = 0 |  |  |  |
| 4: The Bid Non-Delivery Volume (QNDBnij) shall be calculated as follows If QNDBij < 0, then the Period BM Unit Non-Delivered Bid Volume is apportioned across accepted Bids (ABnij), (being Accepted Bids Volumes (QABnij) and for downward RR Activations within the Settlement Period the associated Deemed Standard Product Bid Volume (DSPBJij) and the Replacement Reserve Instructed Bid Deviation Volume (IBDij)), to determine values of Bid Non-Delivery Volume. In each Settlement Period, the set of all accepted Bids (i.e. Bids for which ABnij <0) is considered. This set of Bids is then ranked from lowest price to highest price. The Non-Delivery Order Number, u is used for this purpose. The Bid with the lowest price is allocated a Non-Delivery Order Number of u=1, the next lowest priced Offer is allocated a Non-Delivery Order Number u=2 and so on until all Bids in the Settlement Period are allocated a Non-Delivery Order Number. The set of Bids {ABn1ij, ABn2ij, …….. ABnuij, } is therefore the ranked set of Bids. The Bid Non-Delivery Volume is allocated to the lowest priced Bids first. The apportionment continues until the Period BM Unit Non-Delivered Bid Volume is fully apportioned or all available Bid Volumes have been used up. Thus, the Bid Non Delivery Volume for Bid n, is: QNDBnij = Max(ABnuij, RQNDBu-1ij) Where RQNDBu-1ij is the Remaining Period BM Unit Non-Delivered Bid Volume determined as: RQNDBuij = RQNDBu-1ij - QNDBnu-1ij and RQNDB0ij = QNDBij and QNDBnojj= 0 |  |  |  |
| Non-Functional Requirement: |  |  |  |
| Interfaces: |  |  |  |
| Issues: |  |  |  |

## 5.15	SAA-F015: Calculate non-delivery charges

| Requirement ID: SAA-F015 | Status: M | Title: Calculate non-delivery charges | BSC reference: SAA SD 3.43, 3.44, 3.45, 3.46, SAA BPM 3.14, SAA WK1 Action 30, P344 |
| --- | --- | --- | --- |
| Man/auto: Automatic | Frequency: Once, on each settlement run. | Volumes: |  |
| Functional Requirement: |  |  |  |
| A number of intermediate calculations are required to produce the non delivery charges. All calculation steps in this requirement are included here. |  |  |  |
| 1: The Non-Delivered Offer Charge (CNDOnij) shall be calculated for the non-delivery of Offer n in Settlement Period j from BM Unit i, as follows: CNDOnij = QNDOnij * Max {(NDPOnij – SBPj ), 0}* TLMij Where SBPj is the System Buy Price, NDPOnij is the Offer Price and TLMij is the Transmission Loss Multiplier for that BM Unit and Settlement Period. NDPOnij is the Non-Delivered Offer Price for each Accepted Offer allocated a Non-Delivery Volume and will vary depending on the following: NDPO ijn =PO ijn, &for Accepted Offer volumesRRAPJ, &for upward RR ActivationsBEDP, &for RR Instructed Bid Deviation Volumes (IODij) Where RRAPJ is the Replacement Reserve Activation Price associated to the Quarter Hour RR Activation. |  |  |  |
| 2: The Non-Delivered Bid Charge (CNDBnij) shall be calculated for the non-delivery of Bid n in Settlement Period j from BM Unit i, as follows: CNDBnij = QNDBnij * Min {(NDPBnij – SSPj), 0} * TLMij Where SSPj is the System Sell Price, NDPBnij is the Bid Price and TLMij is the Transmission Loss Multiplier for that BM Unit and Settlement Period. NDPBnij is the Non-Delivered Bid Price for each Accepted Bid allocated a Non-Delivery Volume and will vary depending on the following: NDPB ijn =PB ijn, &for Accepted Bid volumesRRAPJ, &for upward RR ActivationsBEDPJ, &for RR Instructed Bid Deviation Volumes (IBDij) Where RRAPJ is the Replacement Reserve Activation Price associated to the Quarter Hour RR Activation and BEDPij is the Balancing Energy Deviation Price (BEDPj) and shall be equal to zero. Note that this is a product of two negative numbers that results in a positive charge (or zero). |  |  |  |
| 3: The BM Unit Period Non-Delivery Charge (CNDij).shall be calculated for the non-delivery of Bids and Offers in Settlement Period j from BM Unit i, as follows: CNDij = n (CNDOnij + CNDBnij) |  |  |  |
| 4: The Total System Non-Delivery Charge (TCNDj) shall be calculated for the non-delivery of Bids and Offers in Settlement Period j, summed across all BM Units, as follows: TCNDj = i CNDij |  |  |  |
| Non-Functional Requirement: |  |  |  |
| Interfaces: |  |  |  |
| Issues: |  |  |  |

## 5.16	SAA-F016: Calculate system operator BM cashflow

| Requirement ID: SAA-F016 | Status: M | Title: Calculate system operator BM cashflow | BSC reference: SAA SD 3.48, SAA BPM 3.15, CP632, P344 |
| --- | --- | --- | --- |
| Man/auto: Automatic | Frequency: Once, on each settlement run. | Volumes: |  |
| Functional Requirement: |  |  |  |
| The System Operator cashflow (CSOj) shall be calculated by subtracting the Total System Non-Delivery Charge (TCNDj) from the Total System BM Cashflow (TCBMj) for each Settlement Period. Specifically: CSOj = (TCBMj + TCRRj) – TCNDj |  |  |  |
| Non-Functional Requirement: |  |  |  |
| Interfaces: |  |  |  |
| Issues: |  |  |  |

## 5.17	SAA-F017: Calculate residual cashflows

| Requirement ID: SAA-F017 | Status: M | Title: Calculate residual cashflows | BSC reference: SAA SD 3.49.1, 3.50, 3.51, 3.52, SAA BPM 3.16, CR016, CP632, CP532, CP1222, P285, P344 |
| --- | --- | --- | --- |
| Man/auto: Automatic | Frequency: Once, on each settlement run. | Volumes: |  |
| Functional Requirement: |  |  |  |
| A number of intermediate calculations are required to produce the residual cashflows. All calculation steps in this requirement are included here. |  |  |  |
| 1: The Total System Residual Cashflow (TRCj) shall be calculated as follows: TRCj = TCIIj + CSOj + TCNDj – TCBMj- TCRRj + TCEIj This represents any net difference between total payments and receipts to and from BSC Parties for a particular Settlement Period. It therefore considers the Total System Information Imbalance Charge (TCIIj), Total System Non-Delivery Charge (TCNDj), System Operator Cashflow (CSOj), Total System BM Cashflow (TCBMj) and Total System Energy Imbalance Cashflow (TCEIj). |  |  |  |
| 2: The Residual Cashflow Reallocation Proportion (RCRPaj) to be allocated to each Energy Account (excluding the SO’s (NETSO’s) account) in each Settlement Period shall be calculated as follows: RCRPaj = {S+(non-I) (QCEaij) + S-(non-I) (-QCEaij )} / Sa {S+(non-I) (QCEaij) + S-(non-I) (–QCEaij)} where S+(non-I) is, for each Account a in Settlement Period j, the sum over all BM Units other than Interconnector BM Units that are in delivering Trading Units (i.e. every Trading Unit t where SiÎ t QMij >= 0) , and S-(non-I) is, for each Account a in Settlement Period j, the sum over all BM Units other than Interconnector BM Units that are in offtaking Trading Units (i.e. every Trading Unit t where SiÎ t QMij < 0) is a Consumption Account. Note that Sa RCRPaj should be equal to one. This represents the proportion of the Credited Energy Volume attributed to each Energy Account a for all BM Units i in each Settlement Period j divided by the Total Credited Energy across all Energy Accounts and all BM Units in that Settlement Period. |  |  |  |
| 3: The Residual Cashflow Reallocation Denominator (RCRDj) in each Settlement Period shall be defined as the denominator in the expression for RCRPaj above. |  |  |  |
| 4: The Residual Cashflow Reallocation Cashflow (RCRCaj.) shall be calculated by multiplying the Residual Cashflow Reallocation Proportion with the Total System Residual Cashflow, as follows: RCRCaj = RCRPaj * TRCj This represents the proportion of the Total System Residual Cashflow allocated to the Energy Account a. |  |  |  |
| Non-Functional Requirement: |  |  |  |
| Interfaces: |  |  |  |
| Issues: |  |  |  |

## 5.18	SAA-F018: Allocate BSCCo Ltd Costs (Redundant)

| Requirement ID: SAA-F018 | Status: M | Title: Allocate BSCCo Ltd Costs | BSC reference: SAA SD 3.47, SAA BPM 3.16, CR016, CR028 |
| --- | --- | --- | --- |
| Man/auto: Automatic | Frequency: Once, on each settlement run. | Volumes: |  |
| Functional Requirement: |  |  |  |
| A number of intermediate calculations are required to produce the allocation of BSCCo Ltd costs. All calculation steps in this requirement are included here. |  |  |  |
| 1: The Balancing and Settlement Code Company (BSCCo Ltd) Costs shall be notified to the SAA by BSCCo Ltd. |  |  |  |
| 2: A proportion of these BSC Co costs be charged out pro-rata as explained below, and the remaining proportion be charged out pro-rata on the modulus of all notified Energy Contract volumes (ECQzbaj). The NETSO’s (SO) Energy Contract Volumes and Credited Energy Volumes will be excluded from these calculations. (i) S+(QCEaij,) where S+ is, for each Account a in Settlement Period j, the sum over all BM Units i that are in delivering Trading Units (i.e. each Trading Unit t where SiÎ t QMij >= 0); and (ii) S-(-QCEaij), where S- is, for each Account a in Settlement Period j, the sum over all BM Units i that are in offtaking Trading Units (i.e. each Trading Unit t where SiÎ t QMij < 0) |  |  |  |
| 3: BSCCo Ltd costs shall be recovered monthly, based on a cost forecast, and will reconcile this at year end to total actual costs. |  |  |  |
| Non-Functional Requirement: |  |  |  |
| Interfaces: |  |  |  |
| Issues: |  |  |  |

## 5.19	SAA-F019: Aggregate charges and payments

| Requirement ID: SAA-F019 | Status: M | Title: Aggregate charges and payments | BSC reference: SAA 3.53, SAA BPM 3.17, CP632, P344 |
| --- | --- | --- | --- |
| Man/auto: Automatic | Frequency: Once, on each settlement run. | Volumes: |  |
| Functional Requirement: |  |  |  |
| A number of intermediate calculations are required to produce the aggregated charges and payments. All calculation steps in this requirement are included here. |  |  |  |
| 1: All separate charges and payments shall be aggregated by BSC Party, Settlement Day and charge type, including the following: Balancing Mechanism Cashflows; Replacement Reserve Cashflows; Replacement Reserve Instruction Deviation Cashflow; Residual Cashflow Reallocation Cashflows; Non-Delivery Charges; Information Imbalance Charges; Energy Imbalance Cashflows; System Operator BM Cashflow; BSCCo Ltd Charges. NB: These nine individual charges are calculated separately for each individual BSC Party for each Settlement Day. |  |  |  |
| 2: In addition, the Total Account Charge/Payment shall be calculated by aggregating all the net cashflows for each charge type calculated above to produce a net charge/payment by BSC Party per Settlement Day (This shall be calculated for reporting purposes only.) |  |  |  |
| Non-Functional Requirement: |  |  |  |
| Interfaces: |  |  |  |
| Issues: |  |  |  |

## 5.20	SAA-F020: Validate Market Index Data

| Requirement ID: SAA-F020 | Status: M | Title: Validate Market Index Data | BSC reference: P78 |
| --- | --- | --- | --- |
| Man/auto: Automatic | Frequency: On demand | Volumes: |  |
| Functional Requirement: |  |  |  |
| The SAA shall validate Market Index Data, on receipt, to ensure that the Market Index Volume is either zero, or it equals or exceeds the Liquidity Threshold for the relevant Market Index Data Provider, Settlement Day, and Settlement Period. If a non-zero Market Index Volume is below the defined threshold, then the SAA will default the invalid Market Index Volume and its associated Price to zero, for that Settlement Period. The occurrence of below threshold, non-zero Market Index Volume is recorded by the SAA for the purposes of performance reporting. Unless a specific clock change day Liquidity Threshold has been submitted, then, where an Liquidity Threshold is defined for a range of days that spans a ‘long’ or ‘short’ day, the following rules will be applied: For a ‘short’ day, having 46 Settlement Periods (i.e. the spring clock change when 1am GMT changes to 2am BST): - Settlement Periods 1 to 2 (00:00 to 01:00 GMT) of the ‘short’ day take the values of Settlement Periods 1 to 2 (00:00 to 01:00 local time) of the ‘normal’ day data; - Settlement Periods 3 to 46 (02:00 to 24:00 BST) of the ‘short’ day take the values of Settlement Periods 5 to 48 (02:00 to 24:00 local time) of the ‘normal’ day data; - Settlement Periods 3 and 4 of the ‘normal’ day data are not used on a short day. For a ‘long’ day, having 50 Settlement Periods (i.e. the autumn clock change when 2am BST changes to 1am GMT): - Settlement Periods 1 to 4 (00:00 to 02:00 BST) of the ‘long’ day take the values of Settlement Periods 1 to 4 (00:00 to 02:00 local time) of the ‘normal’ day data; - Settlement Periods 5 to 6 (01:00 to 02:00 GMT) of the ‘long’ day take the values of Settlement Periods 3 to 4 (01:00 to 02:00 local time) of the ‘normal’ day data; - Settlement Periods 7 to 50 (02:00 to 24:00 GMT) of the ‘long’ day take the values of Settlement Periods 5 to 48 (02:00 to 24:00 local time) of the ‘normal’ day data. |  |  |  |
| Non-Functional Requirement: |  |  |  |
| Interfaces: |  |  |  |
| SAA-I030 |  |  |  |
| Issues: |  |  |  |

## 5.21	SAA-F021: Manage settlement disputes

| Requirement ID: SAA-F021 | Status: M | Title: Manage settlement disputes | BSC reference: SAA SD 5.1, SAA BPM 3.18 |
| --- | --- | --- | --- |
| Man/auto: Manual & auto | Frequency: On demand. | Volumes: |  |
| Functional Requirement: |  |  |  |
| 1: The SAA shall perform settlement runs in support of disputes, on instruction from BSCCo Ltd. |  |  |  |
| 2: It shall be possible for SAA system operators to create new data or amend existing data for input to a dispute settlement run. |  |  |  |
| 3: The dispute run shall invoke the required calculations for a specific Settlement Period to be re-run. |  |  |  |
| 4: The output from any dispute run, shall be forwarded to the Funds Administration Agent for processing and funds transfer. The SAA provides only the new calculated values to the FAA; the SAA is not required to provide the difference between the new values and the original values. |  |  |  |
| 5: Where the FPN is disputed, an Amended FPN shall be determined. The dispute run (and any future runs pertaining to the disputed Settlement Period) shall be performed against the amended FPN. |  |  |  |
| Non-Functional Requirement: |  |  |  |
| A Dispute may be raised by a BSC Party, the NETSO or by BSCCo Ltd if they object to the results of a Settlement when they believe that the calculation has been undertaken using the wrong data or the calculation does not follow the rules. The Settlement Administration Agent may raise a dispute on behalf of BSC Parties if errors in calculations or data are detected or suspected. The Settlement Administration Agent shall be able to receive individual Dispute notifications from BSC Parties and shall take appropriate action to process the dispute. All dispute notifications shall be logged. The Settlement Administration Agent shall, when requested by the Customer, undertake evaluation, or analysis if requested, of a dispute to determine the facts and its materiality. The Settlement Administration Agent shall, when requested by the Balancing and Settlement Code Company or Panel submit written evidence concerning a particular Dispute, to the Balancing and Settlement Code Panel. The Settlement Administration Agent shall carry out actions in support of disputes within timescales agreed with BSCCo Ltd. |  |  |  |
| Interfaces: |  |  |  |
| The interface requirements SAA-I012 and SAA-I018 describe the Dispute Notifications received by SAA from external parties, and the Dispute Reports produced by the SAA. |  |  |  |
| Issues: |  |  |  |

## 5.22	SAA-F022: Provide settlement reports

| Requirement ID: SAA-F022 | Status: M | Title: Provide settlement reports | BSC reference: SAA SD, SAA BPM 3.19 |
| --- | --- | --- | --- |
| Man/auto: Manual & auto | Frequency: Once following each settlement run & on demand. | Volumes: |  |
| Functional Requirement: |  |  |  |
| 1: The SAA shall produce all settlement reports in accordance with the Settlement Calendar, listed as external interfaces in section 6. |  |  |  |
| 2: Reports shall be provided to all BSC Parties for general market information, and only to authorised BSC Parties where the information is party specific. The reporting requirements and access rights of each BSC party will be maintained to ensure that reports are only distributed to interested and authorised BSC parties. |  |  |  |
| 3: The SAA shall support an interface to enable changes to reporting requirements and access rights to be administered. |  |  |  |
| 4: Ad-hoc reports shall be supplied to the Customer or BSC Parties, as requested. |  |  |  |
| 5. The SAA shall send the SVAA an aggregate report of all Quarter Hour RR Activation Data in respect of each Quarter Hour period within each Replacement Reserve Auction Period for such Settlement Day. |  |  |  |
| Non-Functional Requirement: |  |  |  |
| Interfaces: |  |  |  |
| The data requirements for settlement reports are described in SAA-I014. The physical format of externally distributed files is described in the NETA Central Systems Interface Specification. |  |  |  |
| Issues: |  |  |  |

## 5.23	SAA-F023: Process Market Index Data Provider Liquidity Thresholds

| Requirement ID: SAA-F023 | Status: M | Title: Process Market Index Data Provider Liquidity Thresholds | BSC reference: P78 |
| --- | --- | --- | --- |
| Man/auto: Manual/ Automatic | Frequency: On demand | Volumes: |  |
| Functional Requirement: |  |  |  |
| The SAA shall carry out the following validation on MIDP Liquidity Thresholds: (a) Where the Action is ‘Insert’, then the effective date range of the Liquidity Threshold record must not overlap with any existing record for that MIDP; (b) Where the Action is ‘Update’, then the ‘Effective From Settlement Date’ must match the Effective From Settlement Date of an existing Liquidity Threshold record for that MIDP; (c) Where the Action is ‘Delete’, then the ‘Effective From Settlement Date’ must match the Effective From Settlement Date of an existing Liquidity Threshold record for that MIDP. In cases where a change in MIDP Liquidity Threshold would be retrospective, the SAA will confirm correctness with BSCCo before applying the update. If a retrospective change to MIDP Liquidity Thresholds requires Market Index Data to be resubmitted (in order to be revalidated), then a check will be made by SAA to confirm that this does occur. BSCCo will communicate the details of what files will be resubmitted, from which Market Index Data Providers, along with details of the timeframe in which this should occur. Where files are not re-submitted within the expected timeframe, then this will be escalated to BSCCo. Changes to Liquidity Thresholds, retrospective or otherwise, will not be applied to existing Market Index Data. Where a Liquidity Threshold record fails validation then it is rejected, and the details of the rejection are reported back to BSCCo. After applying an update, or set of updates, for a given MIDP, the Liquidity Threshold data for current and future dates is reported back to BSCCo, using the SAA-I032 flow. |  |  |  |
| Non-Functional Requirement: |  |  |  |
| Interfaces: |  |  |  |
| SAA-I031, SAA-I032 |  |  |  |
| Issues: |  |  |  |

## 5.24	SAA-F024: Daily Check for Missing Settlement Calculation Data Flows

| Requirement ID: SAA-F024 | Status: N/a | Title: Daily Check for Missing Settlement Calculation Data Flows | BSC reference: SAA SD 2.1.1, CP639, P71, P344 |
| --- | --- | --- | --- |
| Man/auto: Manual & Automatic | Frequency: Daily (not related to specific run types) | Volumes: |  |
| Functional Requirement: |  |  |  |
| The SAA shall validate certain incoming data flows to check for potential out of sequence files, which would indicate missing Settlement Calculation data. This check will be carried out for the following types of data: - Bid Offer Acceptance data; - BM Unit Applicable Balancing Services Volume data - Replacement Reserve Auction Result Data. The SAA will report a failure of the above check to BSCCo through manual flow SAA-I027 and await further instruction. BSCCo shall immediately respond to the SAA through SAA-I028 with an indication as to whether to proceed with the settlement run, or whether to suspend the run pending further instruction. Instruction on how to proceed shall be received by SAA from BSCCo through SAA-I029.Missing data should be provided within 2 days, otherwise the matter will be escalated. |  |  |  |
| Non Functional Requirement: |  |  |  |
| Interfaces: |  |  |  |
| See SAA-I027, SAA-I028, SAA-I029 |  |  |  |
| Issues: |  |  |  |

## 5.25	SAA-F025: Process Withdrawing Party Settlement Details

| Requirement ID: SAA-F025 | Status: Mandatory | Title: Process Withdrawing Party Settlement Details | BSC reference: CP974 |
| --- | --- | --- | --- |
| Man/auto: Manual | Frequency: On request | Volumes: Low |  |
| Functional Requirement: |  |  |  |
| The SAA shall provide the information specified by Interface Requirement SAA-I037 to CRA, on request. Settlement details shall be matched to the request by means of the participant name and / or participant id registered in SAA. |  |  |  |
| Non Functional Requirement: |  |  |  |
| Interfaces: |  |  |  |
| SAA-I037: Issue Withdrawing Party Settlement Details. |  |  |  |

## 5.26	SAA-F026: Process Emergency Acceptance Data

| Requirement ID: SAA-F026 | Status: Mandatory | Title: Process Emergency Acceptance Data | BSC reference: P172 |
| --- | --- | --- | --- |
| Man/auto: Manual | Frequency: On request | Volumes: Low |  |
| Functional Requirement: |  |  |  |
| The SAA shall receive from the NETSO requests for data changes from time to time via the manual interface SAA-I033, which is then agreed between the SAA and BSCCo via the manual interfaces SAA-I034 and SAA-I035, and then reported to the NETSO via the manual interface SAA-I036. These requests may relate to Emergency Instructions, and if so, will be clearly marked ‘EMERGENCY INSTRUCTION’. In addition, where the Emergency Instruction is to be treated as an ‘Excluded Emergency Acceptance’, the request will also include the words ‘EXCLUDED EMERGENCY ACCEPTANCE’. Where it is not to be treated as an ‘Excluded Emergency Acceptance’ the words ‘EMERGENCY ACCEPTANCE’ will be included in the request. The SAA shall enter this data manually and perform the next Settlement Run (usually the II Run). If the Instruction has been determined by the NETSO to be treated as an Excluded Emergency Acceptance, the following steps should also be performed: The SAA shall receive recalculated Energy Imbalance Prices to be achieved in the next run from BSCCo via manual interface SAA-I038. SAA shall calculate and apply any adjustments required: Adjusted BPAj = existing BPAj + BPA adjustmentj Adjusted SPAj = existing SPAj + SPA adjustmentj SAA shall carry out an additional settlement ‘dry run’ and send confirmation to BSCCo, via manual interface SAA-I039, that the adjustments to BSAD have given the required Energy Imbalance Prices. The SAA will liaise with BSCCo until such time as it is able to confirm that the adjustments to BSAD have generated the required Energy Imbalance Prices. The 'dry run' will only be carried out once the associated CDCA Aggregation Run has been completed. In order to allow sufficient lead time between the 'dry run' and the 'live run' the SAA will not wait for receipt of the relevant data from SVAA (via SAA-I007) but instead use SVAA data from the most recent Settlement Run for the purposes of carrying out the 'dry run'. The SAA will not conduct the actual live Settlement Run without prior authorisation to do so from BSCCo via manual interface SAA-I040. The SAA will check and confirm that the amended BSAD has not been overwritten by any other subsequently submitted BSAD data, and that, consequently, the amended BSAD data is used in the live Settlement Run. Note: Subsequent adjustments for later runs will be processed by iterations of the above manual processing. |  |  |  |
| Non Functional Requirement: |  |  |  |
| Interfaces: |  |  |  |
| SAA-I033: Receive Request for Data Change. SAA-I034: Report Recommended Data Change SAA-I035: Receive Instruction for Data Change SAA-I036: Report Confirmation of Data Change SAA-I038: Receive Excluded Emergency Acceptance Pricing Information SAA-I039: Send Excluded Emergency Acceptance Dry Run Results. SAA-I040: Receive Confirmation of Additional Run Results. |  |  |  |

## 5.27	SAA-F027: Calculate BM Unit Gross Demand for EMR

| Requirement ID: SAA-F026 | Status: Mandatory | Title: Calculate BM Unit Gross Demand | BSC reference: EMR |
| --- | --- | --- | --- |
| Man/auto: Automatic | Frequency: Once, on each Settlement Run | Volumes: |  |
| Functional Requirement: |  |  |  |
| The SAA shall determine the TLM-Adjusted BM Unit Gross Demand for registered BM Units, for use by a CFD Settlement Services Provider. - For Supplier BM Units the TLM-Adjusted BM Unit Gross Demand is defined as: TLM-Adjusted BM Unit Gross Demand = – TLMij * BM Unit SVA Gross Demand where BM Unit SVA Gross Demand is the value received from the SVAA for that BM Unit and Settlement Period, and will be deemed to be zero if no such value has been received. - For BM Units other than Supplier BM Units and Interconnector BM Units) the TLM-Adjusted BM Unit Gross Demand is defined as: TLM-Adjusted BM Unit Gross Demand = TLMij * min (QMij, 0) - For all other BM Units, TLM-Adjusted BM Unit Gross Demand is not defined (and the SAA will not provide a value for that BM Unit and Settlement Period to a CFD Settlement Services Provider). - The SAA shall report TLM-Adjusted BM Unit Gross Demand values to a CFD Settlement Services Provider for each relevant BM Unit and Settlement Period in the Settlement Day via SAA-I042. |  |  |  |
| Non Functional Requirement: |  |  |  |
| Interfaces: |  |  |  |
| SAA-I041: BM Unit SVA Gross Demand Data File SAA-I042: BM Unit Gross Demand Report |  |  |  |

## 5.28	SAA-F029: Calculate Trading Unit Data

| Requirement ID: SAA-F029 | Status: Mandatory | Title: Calculate Trading Unit Data | BSC reference: P321 |
| --- | --- | --- | --- |
| Man/auto: Automatic | Frequency: Once, on each Settlement Run | Volumes: |  |
| Functional Requirement: |  |  |  |
| The SAA shall determine Trading Unit Data for each Trading Unit for each Settlement Period at each Settlement Run. This data shall comprise of the Trading Unit Export Volume, the Trading Unit Import Volume and the Trading Unit Delivery Mode. The Trading Unit Export Volume shall be determined as: QTUErj = Σ(non-S) max(QMij, 0) + ΣN(AE) ¦ CORCiNj ¦ where: Σ(non-S) represents the sum over all BM Units other than Supplier BM Units belonging to the Trading Unit; and ΣN(AE) represents the sum over all Consumption Component Classes that are associated with active export over all Supplier BM Units belonging to the Trading Unit. The Trading Unit Import Volume shall be determined as: QTUIrj = Σ(non-S) min(QMij, 0) – ΣN(AI) ¦ CORCiNj ¦ where: Σ(non-S) represents the sum over all BM Units other than Supplier BM Units belonging to the Trading Unit; and ΣN(AI) represents the sum over all Consumption Component Classes that are associated with active import over all Supplier BM Units belonging to the Trading Unit. The Trading Unit Delivery Mode shall be determined as "Delivering" if QTUErj + QTUIrj > 0; or "Offtaking" if QTUErj + QTUIrj ≤ 0. The SAA shall report Trading Unit Data for each Trading Unit for each Settlement Period for each Settlement Run to the BMRA via SAA-I049. |  |  |  |
| Non Functional Requirement: |  |  |  |
| Interfaces: |  |  |  |
| SAA-I049: Trading Unit Data |  |  |  |

## 5.29	SAA-F030: Build RR Schedule

| Requirement ID: SAA-F030 | Status: M | Title: Build RR Schedule | BSC reference: P344 |
| --- | --- | --- | --- |
| Man/auto: Automatic | Frequency: Once on each settlement run. | Volumes: |  |
| Functional Requirements: The RR Schedule defines the volume of energy that a BM Unit must deliver in each Settlement Period, in order to be treated in Settlement as having fully delivered its RR Activations. When a BM Unit does not deliver this volume of energy, its Lead Party may be liable to Energy Imbalance Charges and Non-Delivery Charges. The RR Schedule is a piecewise linear MW profile, made up of a number of straight line segments each defined by- From Time and To Time (UTC times on a minute boundary) - From Level and To Level (MW values, to one decimal place) The RR Schedule for a given hour will start no earlier than H-25, but may continue for hours or days after the end of the Auction Period. |  |  |  |
| 1. Identify the quarter hours with non-zero activations, quarter hour boundaries and quarter hours where the activation for the previous period is different to that of the current period. |  |  |  |
| 2. Derive the RR Baseline that defines the level from which an RR activation needs to be delivered. The RR Baseline is defined as: Duration; Value; Notes. H-30 to H + 60; FPN + BOAs + RRIs; For BOAs and RR Instructions issued before Gate closure for that Auction period.. After H+60; Final MW level in the last RR Instruction relating to the hour.; If no such instruction exists, it is the value of FPN in the settlement period ending at H+60.. H-30 means 30 minutes before the start of the hour for that Auction Period and H+60 means 60 minutes after the start of the hour for that Auction Period |
| 3. Determine the profile P(t) to which the ramp must be added Pt=RR Baseline (for times t before or after the auction hour)FPN + RRA for times within the auction hour (1) Special Cases Discontinuity of the RR Baseline When there is a discontinuity on the RR Baseline at the border of a Quarter Hour with a non-zero RR Activation, there are two potential start points for the ramp as shown in Figure 5 below. In this case, the ramp can start from two different coordinates (14:15, 240MW) and (14:15, 500 MW). The process to test feasible ramps is as follows: - For a time t within the Auction Period, the value of the profile at time t is taken as being the limit as one approaches t from the direction of the centre of the Quarter Hour block to which the candidate ramp relates; and - For a time t outside the Auction Period, the Methodology will try both options, starting with the limit as one approaches time t from the direction of the Auction Period. |  |  |  |
| 4. Identify the Run Up Rates (RURs) and the Run Down Rates (RDRs) needed to build the Ramps (R) in the RR Schedule. The rates used are those that were in effect at Gate closure for the auction period and fully deliver the RR Activation for the 5 Central minutes of each quarter hour for an Auction Period (H to H+60). The Dynamics of RURs and RDRs vary depending on whether a BM Unit is Exporting or Importing. Additionally, the RURs and RDRs for a BM Unit will comprise of up to three Run-Up Rates expressed in MW/minute and associated Elbows (BP) expressed in MW. This means that the starting point of a ramp will affect the RUR and RDR that SAA will use. RURE = Run-Up Rate Export; RDRE = Run-Down Rate Export; BP are the elbow points; R1, R2 and R3 are the ramp rates. RURI = Run-Up Rate Import; RDRI = Run-Down Rate Import. |
| 5. Build RR Schedule Ramp ≤ 10 minutes For each Quarter Hour with boundary times t (where t = H, H+15, H+30, H+45 and H+60), SAA shall test whether it is possible to find a ramp of ten minutes or less. The ramps respect the declared Run-Up and Run-Down Rates and associated elbow points; and deliver the RR Activation in full for the Central 5 minutes of each quarter hour. Assuming a notation of t-x and t-y, where x, and y are number of minutes before and after t, the following process shall be followed to find a ramp that meets the RR Activation for the central 5 minutes of the quarter hour. Test: - Ramp from t–1 to t; or failing that t–1 to t+1 - Ramp from t–2 to t+1; or failing that t–2 to t+2 - Ramp from t–3 to t+2; or failing that t–3 to t+3 - Ramp from t–4 to t+3; or failing that t–4 to t+4 - Ramp from t–5 to t+4; or failing that t–5 to t+5 In order to identify the start times (t0) and end times (t1) of a ramp that fully deliver an RR Activation, the SAA shall use linear interpolation where (x,y) coordinates in a graph represent (time, MW); Given the equation for a line is defined by: y1= y0+m (x1-x0) (2) Where m = slope; m < 0 for run down rates; y0 > y1. m > 0 for run up rates; y0 < y1. The (time, MW) coordinates will define the RR Schedule Product Point Variables (qRRSkijt) and shall be recorded after the successful construction of each ramp. |
| 6. Build ramps of 30 minutes or less When a ramp of less than 10 minutes is not feasible and the candidate ramp is for the first non- zero RRA for the auction period; then SAA shall attempt to build a ramp of a maximum duration of 30 minutes which ends 5 minutes after the start of the hour. Following a similar logic to the previous step, the candidates to be tested are: - Ramp from t–6 to t+5 - Ramp from t–7 to t+5 - … - Ramp from t–25 to t+5 |  |  |  |
| 7. Draw a straight line If no ramp is found following the previous steps, provided the ramp is not a final ramp, then draw a straight line from the starting coordinates to the coordinates that reach the RR Activation level on the 5th minute of the quarter hour. |  |  |  |
| 8. Create a final ramp SAA shall schedule ramps that comply with the following: - Start five minutes before the end of the Quarter Hour boundary; - Comply with the BM Unit’s declared Run-Up or Run-Down Rates; and - Have no specific limit on their duration. Initially SAA should check ramps that are symmetric to the ramp that was built to reach the RR Activation. When this is not possible because the ramp is a slow ramp, then the final ramp should converge to the RR Baseline defined for times after the end of RR Auction Period (i.e. H+60), whose level is defined by: - The final MW level in the last RR Instruction issued by the NETSO relating to the hour; or - If no such RR Instruction was received, the final value of the FPN in the Settlement Period ending at H+60. |  |  |  |
| 9. Collate the RR Schedule This is done by combining there ramps created for each time (H, H+15, H+30, H+45, and H+60); and the values of FPN + RRA for all times t that are within the hour, but not included in any of the ramps. |  |  |  |
| The process flow below is a high-level visual demonstration of the steps outlined above. Assuming it is used for a one hour period, then the loop can run a maximum of 4 times (in the case of all 4 quarter hours having non-zero RR Activations). * RRS = RRA is true when that iteration of the RR Schedule ramp has reached the RR Activation. |  |  |  |
| Non-Functional Requirement: |  |  |  |
| Interfaces: |  |  |  |
| Issues: |  |  |  |

## 5.30	SAA-F031: Deemed Standard Product Variables

| Requirement ID: SAA-F031 | Status: M | Title: Deemed Standard Product Variables | BSC reference: P344 |
| --- | --- | --- | --- |
| Man/auto: Automatic | Frequency: Once on each settlement run. | Volumes: |  |
| Functional Requirements: 1. Upon receipt of Replacement Reserve Auction Result Data from National Grid, SAA shall assign the quarter hour variable J to each Quarter Hour RR Activation (RRAJ) in the RR Auction Period. |  |  |  |
| 2. SAA will create Deemed Product Point Variables(qDSPJijt) for each Quarter Hour RR Activation, to be processed in ascending order by reference to the Quarter Hour RR Activation 'J', where; i) a point variable (t, MW) is created such that t is set 5 minutes before the start time of the Quarter Hour for which the RR Activation relates. The MW level is set equal to the level of the immediately preceding Quarter Hour RR Activation. If not immediate preceding quarter hour exists, then it is set to zero. ii) a point variable (t, MW) is created such that t is set 5 minutes after the start time for the Quarter hour RR Activation. The MW level equals RR Activated Quantity for that Quarter Hour. iii) a point variable (t, MW) is created such that t is set 5 minutes before the end time for the Quarter hour RR Activation. The MW level equals RR Activated Quantity for that Quarter Hour. iv) a point variable (t, MW) is created such that t is set 5 minutes after the end time for the Quarter hour RR Activation. The MW level equals RR Activated Quantity for that Quarter Hour. v) qDSPJijt will have the same format and structure as other BSC point variables as per BSC X-2 4.4 |  |  |  |
| Non-Functional Requirement: |  |  |  |
| Interfaces: |  |  |  |
| Issues: |  |  |  |
| Issues: |  |  |  |

## 5.31	SAA-F032: Period Supplier BM Unit Delivered Volume for Secondary BM Units

| Requirement ID: SAA-F032 | Status: M | Title: Period Supplier BM Unit Delivered Volume for Secondary BM Units | BSC reference: P344 |
| --- | --- | --- | --- |
| Man/auto: Automatic | Frequency: Once on each settlement run. | Volumes: |  |
| Functional Requirements: For each Settlement Period and each Primary BM Unit "i", or Secondary BM Units “i2” 1: The Period Secondary BM Unit Non-Delivered Volume (QSNDij) for each Secondary BM Unit is the amount determined as follows: QSNDij = Max{ Min( QBSij, QNDOij ) , QNDBij } And 2: The Period Secondary BM Unit Delivered Volume (QSDij) for each Secondary BM Unit is the amount determined as follows: QSDij = QBSij -QSNDij |  |  |  |
| 3: The Secondary BM Unit Supplier Delivered Volume (QSDiji2) for each Secondary BM Unit "i2", for each Primary BM Unit "i" for the period is determined as follows: QSDiji2 = QSDi2j * SPiji2 Where the Period Secondary BM Unit Delivered Proportion (SPiji2) is determined as a weighted average of Secondary BM Unit Supplier Delivered Volume, VBMUSDViji2: SPiji2 = VBMUSDViji2 / iVBMUSDViji2 where i represents the summation over all Primary BM Units "i" and VBMUSDViji2 is the Secondary BM Unit Supplier Delivered Volume which is defined in more detail in Section 9.6.1C of Annex S-2. |  |  |  |
| 2: The Period Supplier BM Unit Delivered Volume (QBSDij) is the amount determined as follows: QBSDij = i2QSDiji2 where i2 represents the sum over all Secondary BM Units i2 for which Primary BM Unit "i" is to be allocated a value of QSDiji2. |  |  |  |
| Non-Functional Requirement: |  |  |  |
| Interfaces: |  |  |  |
| Issues: |  |  |  |
| Issues: |  |  |  |

## 5.32	SAA-F033: Deemed Standard Product Volumes and RR Instructed Deviation Volumes

| Requirement ID: SAA-F033 | Status: M | Title: Deemed Standard Product Volumes and RR Instructed Deviation Volumes | BSC reference: P344 |
| --- | --- | --- | --- |
| Man/auto: Automatic | Frequency: Once on each settlement run | Volumes: |  |
| Functional Requirements: 1. The Deemed Standard Product Volume (qDSPVJij(t)) is calculated as follows: qDSPVJij(t) = qDSPJij(t) - qDSPJ-1ij(t) where, the Settlement Period, J-1 represents that Deemed Standard Product Shape from the previous Quarter Hour and is measured in MWh for each BM Unit I and Settlement period J. If there is no qDSPJij(t) has been determined in the Settlement Period which has a qDSPJij(t) then qDSPJ-1ij(t) shall be set equal to zero. |  |  |  |
| 2. The Deemed Standard Product Offer Volume (qDSPOJij(t)) and Deemed Standard Product Bid Volume (qDSPBJij(t)) for Accepted Offers and Bids are calculated as follows: qDSPOJij(t)) = max (qDSPVJij (t) , 0 ) qDSPBJij (t)) = min (qDSPVJij(t) , 0 ) |  |  |  |
| 3. The Period Deemed Standard Product Offer Volume (DSPOJij) and Period Deemed Standard Product Bid Volume (DSPBJij) in each settlement period for each BM Unit are calculated by integrating (DSPOJij) and (DSPBJij), respectively, over all spot times in the Settlement Period, for each Quarter Hour RR Activation J. The formula to calculate the area for a trapezoid shown below can be applied as follows: Volume= MWt1-MWt0 2 (t1-t0)60 |  |  |  |
| 4: The Total Period Deemed Standard Product Offer Volume (TDSPOij) and Total Period Deemed Standard Product Bid Volume (TDSPBij) are calculated as follows: TDSPOij = Σ J DSPOJij TDSPBij = ΣJ DSPBJij For each Settlement Period J and each BM Unit i and are measured in MWh. |  |  |  |
| 5: The Replacement Reserve Instructed Offer and Bid Deviation (IODij, IBDij) shall be calculated respectively as: IODij = Σn RRAOnij - TDSPOij IBDij = Σn RRABnij - TDSPB ij IODij and IBDij are measured in MWh and represent the deviation of RR Accepted Offers and Bids, respectively from the Deemed Standard Product Shape for a BM Unit i in settlement period j. |  |  |  |
| Non-Functional Requirement: |  |  |  |
| Interfaces: |  |  |  |
| Issues: |  |  |  |

# 6	Interface Requirements

The SAA Service shall provide an interface to the following external parties.

Other Service Providers:

- Central Registration Agent (CRA)

- Central Data Collection Agent (CDCA)

- Funds Administration Agent (FAA)

- Balancing Mechanism Reporting Agent (BMRA)

- Energy Contract Volume Aggregation Agent (ECVAA)

- Supplier Volume Allocation Agent (SVAA)

Other external parties:

- BSC Party

- BSCCo Ltd

- NETSO (SO)

- Interconnector Administrator (IA)

- Interconnector Error Administrator (IEA)

The SAA Service shall provide inbound and outbound interfaces as summarised in the following table. Each interface requirement is described in detail below.

It is the intention that the SAA URS and the IDD should be fully consistent. However, in the event that some inconsistency is found, the definition in the IDD should be assumed to take precedence until such time as the inconsistency can be corrected at the next release of the document.

It is anticipated that the SAA Service will acquire correct and complete operational data from market participants on an ongoing basis. The SAA Service will not be migrating bulk data from any source.

| Reqt No. | Interface Requirement | Inbound/ Outbound | Interface User (IU) | Mechanism |
| --- | --- | --- | --- | --- |
| SAA-I001 | Receive Registration Data | Inbound | CRA | Via shared database |
| SAA-I002 | Receive Credit Assessment Load Factor | Inbound | CRA | Via shared database |
| SAA-I003 | Receive Balancing Mechanism Data | Inbound | BMRA | Automatic |
| SAA-I004 | Receive Period Meter Data | Inbound | CDCA | Via shared database |
| SAA-I005 | Requirement not currently used |  |  |  |
| SAA-I006 | Receive BM Unit Metered Volumes for Interconnector Users | Inbound | IA | Automatic |
| SAA-I007 | Receive BM Unit Allocated Demand Volume | Inbound | SVAA | Automatic |
| SAA-I008 | Receive Energy Contract Data | Inbound | ECVAA | Automatic |
| SAA-I009 | Receive Transmission Loss Data | Inbound | BSCCo Ltd | Manual |
| SAA-I010 | Receive BSCCo Ltd Costs (Redundant) | Inbound | BSCCo Ltd | Automatic |
| SAA-I011 | Receive Payment Calendar Data | Inbound | FAA | Manual |
| SAA-I012 | Receive Dispute Notification | Inbound | BSC Party, BSCCo Ltd, NETSO | Manual |
| SAA-I013 | Issue Credit/Debit Reports | Outbound | FAA, ECVAA | Automatic |
| SAA-I014 | Issue Settlement Reports | Outbound | BSC Party, BSCCo Ltd, NETSO, VLP | Automatic |
| SAA-I015 | Issue BM Unit Credit Assessment Import Capability Data | Outbound | CRA | Via shared database |
| SAA-I016 | Publish Settlement Calendar | Outbound | BSC Party, BSC Party Agent, SVAA, BSCCo Ltd | Manual |
| SAA-I017 | Issue SAA Data Exception Reports | Outbound | ECVAA, NETSO, SVAA, IA, MIDP | Automatic |
| SAA-I018 | Issue Dispute Reports | Outbound | BSC Party, BSCCo Ltd, NETSO | Manual |
| SAA-I019 | Issue BSC Party Performance Reports (Redundant) | Outbound | BSCCo Ltd | Automatic |
| SAA-I020 | Issue SAA Performance Reports | Outbound | BSCCo Ltd | Manual |
| SAA-I021 | Receive Acknowledgement of SAA Messages | Inbound | All automatic outbound IU | Automatic |
| SAA-I022 | Issue SAA Acknowledgement of Messages | Outbound | All automatic inbound IU | Automatic |
| SAA-I023 | Receive System Parameters | Inbound | BSCCo Ltd | Manual |
| SAA-I025 | SAA BSC Section D Charging Data | Outbound | BSCCo Ltd | Manual |
| SAA-I026 | Receive Balancing Services Adjustment Date | Inbound | NETSO | Automatic |
| SAA-I027 | Report pre-settlement run validation failure | Outbound | BSCCo Ltd | Manual |
| SAA-I028 | Receive settlement run decision | Inbound | BSCCo Ltd | Manual |
| SAA-I029 | Receive settlement run instructions | Inbound | BSCCo Ltd | Manual |
| SAA-I030 | Receive Market Index Data | Inbound | MIDP | Automatic |
| SAA-I031 | Receive Market Index Data Provider Thresholds | Inbound | BSCCo Ltd | Manual |
| SAA-I032 | Report Market Index Data Provider Thresholds | Outbound | BSCCo Ltd | Manual |
| SAA-I033 | Receive Request for Data Change | Inbound | NETSO | Manual |
| SAA-I034 | Report Recommended Data Change | Outbound | BSCCo Ltd | Manual |
| SAA-I035 | Receive Instruction for Data Change | Inbound | BSCCo Ltd | Manual |
| SAA-I036 | Report Confirmation of Data Change | Outbound | BSCCo Ltd, NETSO | Manual |
| SAA-I037 | Issue Withdrawals Checklist - Settlement Data | Outbound | CRA | Via shared database |
| SAA-I038 | Receive Excluded Emergency Accepted Pricing Information | Inbound | BSCCo Ltd | Manual |
| SAA-I039 | Send Excluded Emergency Acceptance Dry Run Results | Outbound | BSCCo Ltd | Manual |
| SAA-I040 | Receive Authorisation To Proceed With Full Settlement Run | Inbound | BSCCo Ltd | Manual |
| SAA-I043 | Demand Control Instructions to CDCA | Outbound | CDCA | Via shared database |
| SAA-I044 | Aggregated BM Unit Disconnection Volumes | Inbound | CDCA | Via shared database |
| SAA-I045 | BM Unit Allocated Disconnection Demand Volume | Inbound | SAA | Electronic data file transfer, Pool Transfer File Format |
| SAA-I049 | Trading Unit Data | Outbound | BMRA | Manual |
| SAA-I050 | Secondary BM Unit Demand Volumes | Inbound | SVAA | Electronic data file transfer |
| SAA-I051 | Secondary BM Unit Supplier Delivered Volumes | Inbound | SVAA | Electronic data file transfer |
| SAA-I052 | Daily Activations Report | Outbound | SVAA | Electronic data file transfer |
| SAA-I053 | Daily Exchange Rate Report | Inbound | BMRA | Electronic data file transfer |
| SAA-I054 | Supplier BM Unit Non BM ABSVD | Inbound | SVAA | Electronic data file transfer |

The following diagrams illustrate these interface requirements.

SAA Service: Inbound Interface Requirements

SAA Service: Outbound Interface Requirements

# 7	Non-functional Requirements

This section specifies the specific non-functional requirements of the SAA Services. Common non-functional requirements are described in CRA URS - Appendix D.

## 7.1	SAA-N001: Audit Requirements

| Requirement ID: SAA-N001 | Status: M | Title: Audit Requirements | BSC reference: SAA SD: 5.3.2 |
| --- | --- | --- | --- |
| Man/auto: Automatic | Frequency: All business transactions | Volumes: Audit information shall be associated with each set of data created by any business transaction. Volumes will be established during detailed design |  |
| Non Functional Requirement: |  |  |  |
| 1. Sufficient information shall be stored such that the service provider shall be able to demonstrate how the results of any individual settlement calculations were derived. 2. It shall be possible to re-run any individual settlement process to recreate the results exactly as originally generated, as a historic report. This shall include the facility to exclude later versions of business data, for instance meter readings, which were received after the settlement process was originally run. Standard reconciliation runs shall include the current version of all current business data relevant to the trading day of the run, including any data received after the settlement process was originally run. 3. It shall be possible to maintain separate settlement calculation rules applicable to individual trading days, since these rules may change over time. In performing subsequent reconciliations of individual trading days, it shall be possible to apply either the calculation rule which was in force at the date on which the trading day was first settled, or alternatively to apply retrospectively an amended calculation rule if deemed necessary. This application of alternative calculation rules shall also be possible for a historic report which uses the same business data as the original settlement run. 4. Should any settlement run or other report process generate informational, warning or error logs as part of its processing, these logs should be available for inspection by an operator. 5. The Service Provider shall facilitate the following specific requirements of the BSCCo Ltd appointed Auditor. The Service Provider shall facilitate any reasonable audit requirements to ensure: a) Data quality is of the required standards for settlement. b) Settlement issues/disputes can be investigated. |  |  |  |

## 7.2	SAA-N002: Requirement not currently used

| Requirement ID: SAA-N002 | Status: | Title: Requirement not currently used | BSC reference: |
| --- | --- | --- | --- |
| Man/auto: | Frequency: | Volumes: |  |
| Non Functional Requirement: |  |  |  |

## 7.3	SAA-N003: Operational Control

| Requirement ID: SAA-N003 | Status: M | Title: Operational Control | BSC reference: |
| --- | --- | --- | --- |
| Man/auto: Manual & Automatic | Frequency: As required | Volumes: |  |
| Non Functional Requirement: The SAA Service operational procedures will be fully defined in the Operational Services Manual. Procedures are likely to include, but not be limited to, the following. |  |  |  |
| 1. It shall be possible to perform settlement runs to satisfy “what if” scenarios, especially in order to gauge materiality in the event of disputes. The results of such “what if” calculations should not be available to subsequent reconciliation runs for the relevant trading day unless so confirmed by a suitably authorised operator. 2. The system shall be sized to support the provision of at least ten settlement runs over the course of each working day in order to comply with the requirements of the Settlement Calendar. 3. It shall be possible to run settlement calculations associated with balancing mechanism requirements prior to, and separately from, calculations associated with imbalancing mechanism settlement. 4. Settlement reports associated with a particular settlement run shall be made available for release to all relevant recipients at approximately the same time. Note that the time of receipt of a given report by a particular BSC Party after release by the central system will be dependent on the type and grade of communications service which that BSC Party has chosen to purchase. |  |  |  |

## 7.4	SAA-N004: Requirement not currently used

| Requirement ID: SAA-N004 | Status: | Title: Requirement not currently used | BSC reference: |
| --- | --- | --- | --- |
| Man/auto: | Frequency: | Volumes: |  |
| Non Functional Requirement: |  |  |  |

# 8	Service Requirements

There are no specific service requirements for the SAA Services. All common service requirements including indicative volumetrics and performance criteria are described in CRA URS - Appendix.

# 9	User Roles and Activities

The following table describes the user roles which will support the day to day operation of the SAA service.

| Role | Activities |
| --- | --- |
| System Administrator | Database management Specific aspects of system configuration User account and security management |
| Supervisor | Management of operators Management of standing data updates Co-ordination of creation of the Settlement Calendar Management of planned operational activities to meet Settlement Calendar timescales and service level requirements Creation of management information reports Support for communication with external parties |
| Operator | Performance of procedures to monitor receipt and processing of information from external parties. Performance of procedures to initiate and monitor settlement runs and reports. Second level support for ad hoc queries raised by external parties |
| Help Desk Operator | First level support for ad hoc queries raised by external parties. Note that the Help Desk facility shall be shared by more than one service provision. |
| Auditor | There shall be a specific user security configuration which allows an external auditor to review data within the system, but prevents the initiation of batch processes or logical edits to business data. |

These roles and activities will be refined and developed in more detail during detailed business process definition.

The following parties are associated with the SAA business processes in the wider context, and may thus be considered as “users” of the service. The detailed functional requirements and data interfaces necessary to support these parties are described earlier in this chapter.

| Role | Summary of Activities related to SAA |
| --- | --- |
| BSCCo Ltd | Receives summary settlement reports from SAA at periodic intervals (daily, weekly, monthly). |
| Balancing Mechanism Operator | Transmits balancing mechanism data (via the BMRA service) to be settled by the SAA service according to Settlement Calendar timescales. |
| BSC Party | Receives detailed settlement reports daily from SAA. |
| CRA | Provides registration data to the SAA which defines the set of items such as the BM Units relevant to each trading period. |
| ECVAA | Provides total energy contract volume associated with each energy account and settlement period. |
| CDCA | Provides metered volumes for BM Units, Interconnectors and GSP Groups as input to the settlement process performed by SAA. |
| SVAA | Provides Supplier Take Energy volumes as input to the settlement process performed by SAA. |
| Interconnector Administrator | Provides BM Unit Metered Volumes for Interconnector Users as input to the settlement process performed by SAA. |
| Funds Administration Agent (FAA) | Receives debit/credit instructions from SAA in order to perform funds clearance. Provides payment calendar annually. |

# Appendix A	Glossary

A standard NETA glossary is included in the Appendix of the CRA URS.

# Appendix B 	Requirements Compliance Matrix

The following tables show the mapping of requirements defined in this URS document to the requirements set out in the Service Description for Settlement Administration, Change Notices and Clarification Notes.

| Service Description Requirement Number | URS Requirement Reference Number | Notes |
| --- | --- | --- |
| 1 |  | Overview section therefore no mapping of requirements |
| 2.1.1 | SAA-I003 SAA-F002 | Balancing Mechanism data received from BMRA not NETSO |
| 2.1.2 | SAA-I026 |  |
| 2.1.4 | SAA-F002 SAA-I003 |  |
| 2.1.6 | SAA-F002 SAA-I003 |  |
| 2.2.1 | SAA-I004 SAA-I044 SAA-F002 |  |
| 2.3.1 | SAA-I008 SAA-F002 |  |
| 2.3.2 | SAA-I008 SAA-F002 |  |
| 2.4.1 | SAA-I006 SAA-F002 |  |
| 2.5.1 | SAA-I007 SAA-I045 SAA-F002 SAA-F003 |  |
| 2.5.2 | SAA-F029 SAA-I049 |  |
| 2.6.1 | SAA-I001 SAA-F002 |  |
| 2.6.2 | SAA-I010 SAA-F002 |  |
| 2.6.3 | SAA-I023 |  |
| 2.6.4 | SAA-I023 |  |
| 2.6.9 | SAA-F005 SAA-F009b |  |
| 2.7.1 | SAA-I001 SAA-I002 SAA-F002 |  |
| 2.8.1 | SAA-I011 SAA-F002 |  |
| 2.9.1 | SAA-I012 SAA-F002 |  |
| 3.1.1 | SAA-F006 |  |
| 3.1.2 | SAA-F006 |  |
| 3.1.3 | SAA-F006 |  |
| 3.2.1 | SAA-F007 |  |
| 3.2.2 | SAA-F005 |  |
| 3.2.3 | SAA-F005 |  |
| 3.2.4 | SAA-F005 |  |
| 3.2.5 | SAA-F005 |  |
| 3.2.6 | SAA-F005 |  |
| 3.2.7 | SAA-F005 |  |
| 3.2.8 | SAA-F007 |  |
| 3.3.1 | SAA-F005 |  |
| 3.3.2 | SAA-F005 |  |
| 3.4.1 | SAA-F005 |  |
| 3.4.2 | SAA-F005 |  |
| 3.5.1 | SAA-F005 |  |
| 3.5.2 | SAA-F005 |  |
| 3.5.3 | SAA-F005 |  |
| 3.5.4 | SAA-F005 |  |
| 3.59 | SAA-F029 SAA-I049 |  |
| 3.6.1 | SAA-F005 |  |
| 3.7.1 | SAA-F005 |  |
| 3.8.1 | SAA-F005 |  |
| 3.9.1 | SAA-F005 |  |
| 3.9.2 | SAA-F005 |  |
| 3.9.3 | SAA-F005 |  |
| 3.10.1 | SAA-F005 |  |
| 3.11.1 | SAA-F005 SAA-F010 |  |
| 3.11.2 | SAA-F010 |  |
| 3.12.1 | SAA-F005 |  |
| 3.12.2 | SAA-F005 |  |
| 3.13.1 | SAA-F005 |  |
| 3.13.2 | SAA-F005 |  |
| 3.14.1 | SAA-F005 |  |
| 3.15.1 | SAA-F007 |  |
| 3.15.2 | SAA-F007 |  |
| 3.16.1 | SAA-F007 |  |
| 3.16.2 | SAA-F007 |  |
| 3.17.1 | SAA-F007 |  |
| 3.17A | SAA-F005 |  |
| 3.17B | SAA-F005 |  |
| 3.17C | SAA-F005 |  |
| 3.18.1 | SAA-F007 |  |
| 3.19.1 | SAA-F005 |  |
| 3.19.2 | SAA-F013 |  |
| 3.19.3 | SAA-F013 |  |
| 3.20.1 | SAA-F005 |  |
| 3.21.1 | SAA-F005 |  |
| 3.22.1 | SAA-F013 |  |
| 3.22.2 | SAA-F013 |  |
| 3.23.1 | SAA-F013 |  |
| 3.24.1 | SAA-F013 |  |
| 3.25.1 | SAA-F013 |  |
| 3.26.1 | SAA-F009 |  |
| 3.26C | SAA-F009b |  |
| 3.27 | SAA-F009 |  |
| 3.28 | SAA-F009 |  |
| 3.29 | SAA-F005 |  |
| 3.30 | SAA-F005 |  |
| 3.31.1 | SAA-F009 |  |
| 3.31.2 | SAA-F009 |  |
| 3.32.1 | SAA-F009 |  |
| 3.32.2 | SAA-F009 |  |
| 3.32C | SAA-F009b |  |
| 3.33.1 | SAA-F011 |  |
| 3.34.1 | SAA-F008 |  |
| 3.34.2 | SAA-F008 |  |
| 3.34.3 | SAA-F008 |  |
| 3.35.1 | SAA-F008 |  |
| 3.36.1 | SAA-F011 |  |
| 3.37.1 | SAA-F011 |  |
| 3.38.1 | SAA-F011 |  |
| 3.39.1 | SAA-F011 |  |
| 3.40.1 | SAA-F011 |  |
| 3.41.1 | SAA-F014 |  |
| 3.41.2 | SAA-F014 |  |
| 3.41.3 | SAA-F014 |  |
| 3.42.1 | SAA-F014 |  |
| 3.43.1 | SAA-F014 |  |
| 3.44.1 | SAA-F014 |  |
| 3.44.2 | SAA-F014 |  |
| 3.44.3 | SAA-F014 |  |
| 3.45.1 | SAA-F014 |  |
| 3.45.2 | SAA-F014 |  |
| 3.45.3 | SAA-F014 |  |
| 3.46.1 | SAA-F015 |  |
| 3.47.1 | SAA-F015 |  |
| 3.48.1 | SAA-F015 |  |
| 3.49.1 | SAA-F015 |  |
| 3.50.1 | SAA-F018 |  |
| 3.50.2 | SAA-F018 |  |
| 3.51.1 | SAA-F016 |  |
| 3.52.1 | SAA-F017 |  |
| 3.53.1 | SAA-F017 |  |
| 3.54.1 | SAA-F017 |  |
| 3.55.1 | SAA-F017 |  |
| 3.56.1 | SAA-F019 |  |
| 3.56.2 | SAA-F019 SAA-I013 |  |
| 3.56.3 | SAA-F019 |  |
| 3.57.1 | SAA-I013 SAA-I014 |  |
| 4.1 | SAA-F022 |  |
| 4.1.1 | SAA-I013 SAA-I014 |  |
| 4.1.2 | SAA-I013 SAA-I014 |  |
| 4.1.3 | SAA-I013 SAA-I014 |  |
| 4.1.4 | SAA-I013 SAA-I014 |  |
| 4.2.1 | SAA-I013 SAA-I014 |  |
| 4.2.2 | SAA-I013 SAA-I014 |  |
| 4.2.3 | SAA-I013 SAA-I014 |  |
| 5.1.1 | SAA-F021 |  |
| 5.1.2 | SAA-F021 |  |
| 5.1.3 | SAA-F021 |  |
| 5.1.4 | SAA-F021 SAA-I018 |  |
| 5.1.5 | SAA-F021 |  |
| 5.1.6 | SAA-F021 |  |
| 5.2.1 | SAA-F001 SAA-I016 |  |
| 5.2.2 | SAA-F001 |  |
| 5.3.1 | SAA-I001 |  |
| 5.3.2 | SAA-N001 |  |
| 5.3.3 | SAA-I001 |  |

| Change Notice or Clarification Note | URS Requirement Reference Number | Notes |
| --- | --- | --- |
| CR002 | SAA-F010 |  |
| CR003 | SAA-F006 SAA-F009 |  |
| CR004 |  | not applicable to SAA |
| CR005 | SAA-F008 SAA-I008 |  |
| CR006 | SAA-F005 |  |
| CR007 | SAA-F018 |  |
| CR008 |  | not applicable to SAA |
| CR009 | SAA-F005 |  |
| CR_18_990909 |  | not applicable to SAA |
| CR_990813_06a |  | not applicable to SAA |
| CR_990813_06b | SAA-F022 SAA-I014 SAA-N003 |  |
| CR_990813_07 |  | not applicable to SAA |
| CR_991027_06a | SAA-I014 |  |
| CR_991027_06b |  | not applicable to SAA |
| CR065 | SAA-I025 |  |
| CP555 | SAA-F001 |  |
|  | SAA-F010 |  |
|  | SAA-I006 |  |
|  | SAA-I011 |  |
|  | SAA-I016 |  |
|  | SAA-I024 |  |
| CP598 | SAA-F002 |  |
| CP595 | SAA-I017 |  |
| CP596 | SAA-F013 |  |
| P8 | SAA-I014 |  |
| P18A | SAA-I014 |  |
| P2 | SAA-F004 |  |
|  | SAA-I013 |  |
| P71 | SAA-F005 |  |
|  | SAA-F024 |  |
|  | SAA-I003 |  |
|  | SAA-I014 | SAA-I014 changes for P71 are documented in the IDD, however they are included in this cross reference for completeness |
| P78 | SAA-F002 |  |
|  | SAA-F009 |  |
|  | SAA-F009a |  |
|  | SAA-F009b |  |
|  | SAA-F012 |  |
|  | SAA-F020 |  |
|  | SAA-F023 |  |
|  | SAA-I014 | The SAA-I014 changes for P78 are documented in the IDD, however they are included in this cross reference for completeness |
|  | SAA-I017 |  |
|  | SAA-I020 |  |
|  | SAA-I026 |  |
|  | SAA-I030 |  |
|  | SAA-I031 |  |
|  | SAA-I032 |  |
| CP754 | SAA-I014 | The SAA-I014 changes for CP754 are documented in the IDD, however they are included in this cross reference for completeness |
| CP797 | SAA-I014 | The SAA-I014 changes for CP797 are documented in the IDD, however they are included in this cross reference for completeness |
| CP915 | SAA-I006 |  |
| CP975 | SAA-I001 |  |
| CP995 | SAA-I003 SAA-I033 SAA-I034 SAA-I035 SAA-I036 |  |
| CP974 | SAA-F025 SAA-I037 |  |
| P215 | SAA-F001 |  |
| CP1283 | SAA-I034 SAA-I035 SAA-I036 |  |
| CP1286 | SAA-I003 |  |
| P217 | SAA-F009 SAA-I003 SAA-I014 SAA-I023 SAA-I026 |  |
| P285 | SAA-F017 |  |
| P305 | SAA-F002 SAA-F003 SAA-F005 SAA-F009a SAA-F009b SAA-I044 |  |
| P323 | SAA-F028 |  |
| P321 | SAA-F028 SAA-I049 |  |
| P344 | SAA-F002 SAA-F003 SAA-F004 SAA-F005 SAA-F006 SAA-F007 SAA-F009b SAA-F011 SAA-F014 SAA-F015 SAA-F016 SAA-F017 SAA-F019 SAA-F024 SAA-F030 SAA-F031 SAA-F032 SAA-F033 SAA-F033 SAA-I050 SAA-I051 SAA-I052 |  |

# Appendix C	Logical Data Model

The diagram above illustrates the logical data model as it affects the SAA User Requirements Specification. It does not describe the entire system data model and it is included for indicative purposes only.

BALANCING SERVICES VOLUME

#  SETTLEMENT DAY

#  SETTLEMENT PERIOD

*  QAS

POINT LIQUIDITY THRESHOLD

#  FROM PERIOD

*  TO PERIOD

*  THRESHOLD

MARKET INDEX DATA PROVIDER

#  MIDP SID

MARKET INDEX DATA

#  SETTLEMENT DAY

#  SETTLEMENT PERIOD

*  VOLUME

*  PUBLISHED

LIQUIDITY THRESHOLD PROFILE

#  EFFECTIVE FROM

o  EFFECTIVE TO

ADJUSTMENT DATA

#  SETTLEMENT DAY

#  SETTLEMENT PERIOD

*  BUY PRICE COST ADJUSTMENT

*  BUY PRICE VOLUME ADJUSTMENT

*  BUY PRICE PRICE ADJUSTMENT

*  SELL PRICE COST ADJUSTMENT

*  SELL PRICE VOLUME ADJUSTMENT

o  SELL PRICE PRICE ADJUSTMENT

o  BUY PRICE SYS VOLUME ADJUSTMENT

o  SELL PRICE SYS VOLUME ADJUSTMENT

REPORT COPY

#  EFFECTIVE FROM

o  EFFECTIVE TO

*  REDIRECTION TYPE

DELIVERY

*  VERSION

#  EFFECTIVE FROM

o  EFFECTIVE TO

*  NON DELIVERY

ACCEPTANCE DURATION FLAG

*  SETTLEMENT DAY

*  SETTLEMENT PERIOD

*  ACCEPTANCE DURATION FLAG

DATED PARAMETER

*  EFFECTIVE FROM DAY

*  EFFECTIVE FROM PERIOD

o  ALPHA

o  ARBITRAGE FLAG

o  NOTIONAL RESERVE LIMIT

o  DEMINIMIS ACCEPTANCE THRESHOLD

o  CONTINUOUS ACCEPTANCE DURATION LIMIT

BID-OFFER ACCEPTANCE

#  ACCEPTANCE TIME

#  BID OFFER ACCEPTANCE NUMBER

*  DEEMED ACCEPTANCE FLAG

BM UNIT

#  BM UNIT IDENTIFIER

o  MEMO

*  INTERCONNECTOR ERROR BMU

POINT ACCEPTANCE LEVE

L

#  FROM TIME

*  FROM LEVEL

...

ACCEPTED BID OFFER VOLUME

#  SETTLEMENT DAY

#  SETTLEMENT PERIOD

#  SETTLEMENT RUN

o  PERIOD ACCEPTED BID VOLUME

o  PERIOD ACCEPTED OFFER VOLUME

o  PERIOD ACCEPTANCE BID CASHFLOW

o  PERIOD ACCEPTANCE OFFER CASHFLOW

BID OFFER PAIR

#  SETTLEMENT DAY

#  SETTLEMENT PERIOD

#  BID OFFER PAIR NUMBER

*  BID PRICE

*  OFFER PRICE

o  NONZERO FLAG

POINT BID OFFER VOLUME

#  FROM TIME

*  FROM LEVEL

*  TO TIME

*  TO LEVEL

DYNAMIC DATA

#  EFFECTIVE TIME

*  VALUE

RUN UP DOWN RATE

#  EFFECTIVE FROM

*  RATE1

*  ELBOW2

*  RATE2

*  ELBOW3

*  RATE3

BMU SETTLEMENT INFORMATION

#  SETTLEMENT DAY

#  SETTLEMENT PERIOD

#  SETTLEMENT RUN

o  EXPECTED METER VOLUME

o  TRANSMISSION LOSS MULTIPLIER

o  CASHFLOW

o  BID-OFFER VOLUME

o  NON-DELIVERY CHARGE

o  NON-DELIVERED BID VOLUME

o  NON-DELIVERED OFFER VOLUME

o  INFORMATION IMBALANCE VOLUME

o  INFORMATION INBALANCE CHARGE

TRADING UNIT DETAIL

#  SETTLEMENT DAY

#  SETTLEMENT PERIOD

#  SETTLEMENT RUN

*  IMPORT EXPORT FLAG

GSP GROUP

#  GSP_GROUP_ID

*  GSP_GROUP_NAME

#  EFFECTIVE_FROM

o  EFFECTIVE_TO

INTERCONNECTOR

#  IDENTIFIER

ENERGY ACCOUNT

#  PRODUCTION CONSUMPTION FLAG

BSC PARTY

BM UNIT DETAIL

#  EFFECTIVE FROM

o  EFFECTIVE TO

o  GENERATION CAPACITY

o  NATIONAL GRID REFERENCE

o  NAME

o  CREDIT ASSESSMENT EXPORT CAPABILITY

o  FPN FLAG

o  NGC BM UNIT NAME

o  PRODUCTION CONSUMPTION FLAG

o  CREDIT ASSESSMENT IMPORT CAPABILITY

o  DEMAND CAPACITY

o  SPECIFIED PC FLAG

o  TRANSMISSION LOSS FACTOR

o  CREDIT ASSESSMENT LOAD FACTOR

TRADING UNIT

COMPONENT

#  EFFECTIVE FROM

o  EFFECTIVE TO

SETTLEMENT PERIOD RUN

INFORMATION

#  SETTLEMENT DAY

#  SETTLEMENT PERIOD

#  SETTLEMENT RUN

o  SO BM CASHFLOW

o  BM CASHFLOW

o  RESIDUAL CASHFLOW

o  ENERGY IMBALANCE CASHFLOW

o  NON-DELIVERY CHARGE

o  INFORMATION IMBALANCE CHARGE

o  ENERGY IMBALANCE VOLUME

o  ACCEPTED OFFER VOLUME

o  ACCEPTED BID VOLUME

o  TLM EXPORT

o  TLM IMPORT

o  BUY PRICE

o  SELL PRICE

o  BSCCO COSTS

o  TQPAO

o  TQPAB

o  TQUAO

o  TQUAB

o  NIV

o  TCQ

o  TTQUAO

o  TSBVA

o  UEBVA

o  UEBCA

o  TTQUAB

o  TSSVA

o  UESVA

o  UESCA

o  PDC

FINAL PHYSICAL

NOTIFICATION DATA

#  SETTLEMENT DAY

#  SETTLEMENT PERIOD

#  SETTLEMENT RUN

o  PERIOD FPN

POINT FPN DATA

#  FROM TIME

*  FROM LEVEL

*  TO TIME

*  TO LEVEL

CREDITED ENERGY

#  SETTLEMENT DAY

#  SETTLEMENT PERIOD

#  SETTLEMENT RUN

*  CREDITED ENERGY VOLUME

SETTLEMENT ACTUALS

#  SETTLEMENT DAY

#  SETTLEMENT PERIOD

#  SETTLEMENT RUN

o  ENERGY IMBALANCE VOLUME

o  RESIDUAL CASHFLOW REALOCATION PROPORTION

o  CREDITED ENERGY VOLUME

o  BID-OFFER VOLUME

o  ENERGY IMBALANCE CASHFLOW

o  REDISUAL CASHFLOW ALOCATION CASHFLOW

INFORMATION IMBALANCE PRICE

#  EFFECTIVE FROM DAY

#  EFFECTIVE FROM PERIOD

*  INFORMATION IMBALANCE PRICE1

*  INFORMATION IMBALANCE PRICE2

ACCOUNT BILATERAL CONTRACT VOLUME

#  SETTLEMENT PERIOD

*  VOLUME

BID OFFER SETTLEMENT

#  SETTLEMENT RUN

o  TOTAL ACCEPTED OFFER VOLUME

o  TOTAL ACCEPTED BID VOLUME

o  BID NON-DELIVERY VOLUME

o  OFFER NON-DELIVERY VOLUME

o  NON-DELIVERED BID CHARGE

o  NON-DELIVERED OFFER CHARGE

o  OFFER CASHFLOW

o  BID CASHFLOW

o  QAPO

o  QAPB

SETTLEMENT

CASHFLOW

#  SETTLEMENT DAY

#  SETTLEMENT RUN

*  CASHFLOW

CHARGE TYPE

#  CHARGE TYPE

INTERCONNECTOR

ERROR

ADMINISTRATION

#  EFFECTIVE FROM

o  EFFECTIVE TO

INTERCONNECTOR

ADMINISTRATION

#  EFFECTIVE FROM

o  EFFECTIVE TO

INTERCONNECTOR

DETAIL

#  EFFECTIVE FROM

o  EFFECTIVE TO

o  NAME

o  ADDITIONAL DETAILS

BM UNIT GROUP

BM UNIT TYPE

#  BM UNIT TYPE

BSC PARTY TYPE

#  PARTY TYPE

TRADING UNIT

#  NAME

o  MEMO

INTERCONNECTOR DEEMED VOLUME

#  SETTLEMENT DAY

#  SETTLEMENT PERIOD

*  VOLUME

ALLOCATED

SUPPLIER VOLUM

E

...

ACTUAL COST

#  YEAR

*  BSCCO ACTUAL COST

SETTLEMENT RUN

LOG

#  SETTLEMENT DAY

#  RUN NUMBER

*  RUN TYPE

*  CDCA RUN NUMBER

*  SVAA RUN NUMBER

*  ECVAA RUN NUMBER

*  RUN DATE

SETTLEMENT DAY

INFORMATION

#  SETTLEMENT DAY

*  BSCCO FORECAST COST

INTERCONNECTOR

ERROR VOLUME

#  SETTLEMENT DAY

#  SETTLEMENT PERIOD

#  SETTLEMENT RUN

*  ERROR VOLUME

COST FACTOR

#  EFFECTIVE FROM

*  COST FACTOR

IMPORT EXPORT FACTOR

#  EFFECTIVE FROM

*  ALPHA

JOINT BM UNIT GROUP

#  ID

#  EFFECTIVE FROM

o  EFFECTIVE TO

o  DOCUMENT REFERENCE

AGGREGATION UNIT

AGGREGATE

#  SETTLEMENT DAY

#  SETTLEMENT PERIOD

#  AGGREGATION RUN

*  VOLUME

*  ESTIMATE INDICATOR

AGGREGATION UNIT

GRID SUPPLY POINT

#  ID

TOTAL MVR

#  SETTLEMENT PERIOD

o  METERED VOLUME FIXED REALLOCATION

o  METERED VOLUME PERCENTAGE REALLOCATION

DISTRIBUTOR

ALLOWED ROLE

#  EFFECTIVE FROM

o  EFFECTIVE TO

WEEK FORECAST

#  WEEK BEGINNING

o  DEMAND

o  MARGIN

SYSTEM WARNIN

G

...

PERIOD FORECAST

#  SETTLEMENT DAY

#  SETTLEMENT PERIOD

o  DEMAND FORECAST

o  INDICATED MARGIN

o  INDICATED IMBALANCE

o  INDICATED GENERATION

o  INDICATED DEMAND

o  INITIAL DEMAND OUTTURN

DAY FORECAST

#  DAY

o  DEMAND

o  MARGIN

FORECAST

#  FORECAST DATETIME

NATIONAL OR ZONE

#  ZONE ID

ECVAA RUN

#  SETTLEMENT DAY

#  RUN NUMBER

DYNAMIC DATA TYPE

#  DATA TYPE

RAMP TYPE

#  RAMP TYPE

STAGE 2 SUPPLIE

R

...

SUPPLIER OWNER

#  EFFECTIVE FROM

*  ALL SETTLEMENTS

SVAA RUN

#  SETTLEMENT DAY

#  SVAA RUN NUMBER

*  CDCA SETTLEMENT DATE

*  CDCA RUN NUMBER

ESTIMATED TRANSMISSION

LOSS MULTIPLIER

#  EFFECTIVE FROM

*  TLM_IMPORT

*  TLM_EXPORT

IMPORT EXPORT

LIMIT

#  LIMIT TYPE

#  TIME FROM

*  LEVEL FROM

*  TIME TO

*  LEVEL TO

AGGREGATION

UNIT TYPE

#  UNIT TYPE

*  HIERARCHY SEQUENCE

INTERNAL

INTERCONNECTOR

#  ID

BMU MPAN

#  EFFECTIVE FROM

o  EFFECTIVE TO

#  MPAN

INTERNAL

INTERCONNECTOR

OWNER

#  EFFECTIVE FROM

o  EFFECTIVE TO

GSP OWNER

#  EFFECTIVE FROM

o  EFFECTIVE TO

BSV BMU FK

BSV BMU FK

MIDP_MID_FK

MID_MIDP_FK

LTP MIDP FK

LTP MIDP FK

PLT LTP FK

PLT LTP FK

delivered to

received version

generated for

received by

copied to

received by

against

defined by

f

t

f

t

against

subject to

defined for

defined by

derived from

allocated in

submitted for

subject to

allocated from

accepted in

values for

defined by

associated with

characterised by

details of

comprised

calculated for

used to calculate

part of

comprised

allocated for

assigned

details of

detailed by

for

contained by

f

t

f

t

f

t

f

t

f

t

f

t

f

t

f

t

f

t

f

t

f

t

f

t

f

t

f

t

f

t

f

t

f

t

f

t

f

t

f1

t1

f

t

f

t

f

t

f

t

f

t

f

t

f

t

f

t

f

t

f

t

f

t

f

t

f

t

f

t

f

t

f

t

f

t

f

t

f

t

f

t

f

t

f

t

f

t

f

t

f

t

f

t

f

t

f

t

f

t

f

t

f

t

f1

t1

f

t

t

f

t

f

t

f

t

f

t

f

t

f

t

BM UNIT DETAIL

#

EFFECTIVE FROM

o

EFFECTIVE TO

o

GENERATION CAPACITY

o

NETSO REFERENCE NAME

o

CREDIT ASSESSMENT EXPORT CAPABILITY

o

FPN FLAG

o

NGC BM UNIT NAME

o

PRODUCTION CONSUMPTION FLAG

o

CREDIT ASSESSMENT IMPORT CAPABILITY

o

DEMAND CAPACITY

o

SPECIFIED PC FLAG

o

TRANSMISSION LOSS FACTOR

o

CREDIT ASSESSMENT LOAD FACTOR

# Appendix D	Business Process Model

The Business Process Model diagram(s) for the SAA Service will be found in the NETA PROGRAMME shared folder (Reference 07-5505). The diagram below is included for indicative purposes only.

# Appendix E	Price Derivation Code Definitions

The possible values of the Price Derivation Code are defined in the table below. The description gives a brief summary of what the code represents, and the condition detail defines the relevant conditions that cause this related code to be true. Refer to the description of how the System Buy Price and System Sell Price are calculated for further understanding of what these conditions mean.

For Settlement Dates prior to the P217 effective date:

| Code | Description | Condition Detail |
| --- | --- | --- |
| A | SBP = Main price; SSP = Reverse Price | NIV is positive QXP is non zero SBP = NIV; SSP = PXP; QAPO + UEBVA is not zero; SSP is not greater than SBP |
| B | SSP Capped to SBP | NIV is positive QXP is non zero SBP = NIV; SSP = NIV; QAPO + UEBVA is not zero; SSP is greater than SBP |
| C | SSP Defaulted to SBP | NIV is positive QXP is zero SBP = NIV; SSP = NIV; QAPO + UEBVA is not zero |
| D | SBP & SSP Defaulted to Market Price | NIV is positive QXP is non zero SBP = PXP; SSP = PXP; QAPO + UEBVA is zero |
| E | SSP & SBP Defaulted to Zero | NIV is positive QXP is zero SBP = 0; SSP = 0; QAPO + UEBVA is zero |
| F | SSP = Main Price; SBP = Reverse Price | NIV is negative QXP is non zero SBP = PXP; SSP = NIV; QAPB + UESVA is not zero; SSP is not greater than SBP |
| G | SBP Capped to SSP | NIV is negative QXP is non zero SBP = NIV; SSP = NIV; QAPB + UESVA is not zero; SSP is greater than SBP |
| H | SBP Defaulted to SSP | NIV is negative QXP is zero SBP = NIV; SSP = NIV; QAPB + UESVA is not zero |
| I | SBP & SSP Defaulted to Market Price | NIV is negative QXP is non zero SBP = PXP; SSP = PXP; QAPB + UESVA is zero |
| J | SSP & SBP Defaulted to Zero | NIV is negative QXP is zero SBP = 0; SSP = 0; QAPB + UESVA is zero |
| K | SSP & SBP Defaulted to Market Price | NIV is zero QXP is non zero SBP = PXP; SSP = PXP; |
| L | SSP & SBP Defaulted to Zero | NIV is zero QXP is zero SBP = 0; SSP = 0; |

For Settlement Dates on or after the P217 effective date (note: Price Derivation Codes D, E, I, and J are not applicable for P217 effective dates):

| Code | Description | Condition Detail |
| --- | --- | --- |
| A | SBP = Main price; SSP = Reverse Price | NIV is positive QXP is non zero SBP = NIV; SSP = PXP; SSP is not greater than SBP |
| B | SSP Capped to SBP | NIV is positive QXP is non zero SBP = NIV; SSP = NIV; SSP is greater than SBP |
| C | SSP Defaulted to SBP | NIV is positive QXP is zero SBP = NIV; SSP = NIV; |
| F | SSP = Main Price; SBP = Reverse Price | NIV is negative QXP is non zero SBP = PXP; SSP = NIV; SSP is not greater than SBP |
| G | SBP Capped to SSP | NIV is negative QXP is non zero SBP = NIV; SSP = NIV; SSP is greater than SBP |
| H | SBP Defaulted to SSP | NIV is negative QXP is zero SBP = NIV; SSP = NIV; |
| K | SSP & SBP Defaulted to Market Price | NIV is zero QXP is non zero SBP = PXP; SSP = PXP; |
| L | SSP & SBP Defaulted to Zero | NIV is zero QXP is zero SBP = 0; SSP = 0; |

For Settlement Dates on and after the P305 effective date:

| Code | Description | Condition Detail |
| --- | --- | --- |
| K | SSP & SBP Defaulted to Market Price | NIV is zero QXP is non zero SBP = PXP; SSP = PXP; |
| L | SSP & SBP Defaulted to Zero | NIV is zero QXP is zero SBP = 0; SSP = 0; |
| N | SSP Defaulted to Main Price; SBP = SSP | NIV is Negative |
| P | SBP Defaulted to Main Price, SSP = SBP | NIV is Positive |

As detailed in the CRA URS.

Note that details of the SAA-I017 (Data Exception Report) flow have not been included in this diagram, in order to avoid excessive clutter.